KEMENTERIAN AGAMA

UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG

Jl. Gajayana No. 50 Malang 65144,  Telp. (0341) 551354, Fax. (0341) 572533Website :www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Nomor 		:  Un.03/KS.01.7/1125/2016			                 Malang, 24 Maret 2016

Lampiran 	:  1 (satu) bendel

Perihal 		:  PermohonanInformasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Belanja Modal Peralatan dan Mesin untuk Revitalisasi Laboratorium Jurusan Biologi Fakultas Sains dan TeknologiUIN Maulana Malik Ibrahim Malang Tahun Anggaran 2016,bersama ini kami bermaksud agarperusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Informasi harga yang saudara akan kami jadikan sebagai dasar pembuatan HPS lelang.

Kami harap data harga barang dapat kami terima paling lambat pada :

Hari	:     Selasa

Tanggal	: 	29 Maret 2016

Jam 	:	14.00 wib

Tempat 	: 	Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Adapun informasi harga tersebut bisa dikirim ke kantor ULP UIN Maulana Malik Ibrahim Malang, ataudi fax di no (0341) 570886 dan atau dikirimvia e-mail ke : ulp@uin-malang.ac.id atau ulp_uinmalang@kemenag.go.id.

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Wassalamu’alaikumWr. Wb.

PejabatPembuatKomitmen ,

Dr. drh. Hj. Bayyinatul Muchtaromah, M.Si

NIP 19710919 200003 2 001

KEMENTERIAN AGAMA

UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG

Jl. Gajayana No. 50 Malang 65144,  Telp. (0341) 551354, Fax. (0341) 572533

Website :www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Lampiran	:

Surat Permohonan Informasi Harga Barang

Nomor 		: Un.03/KS.01.7/1125/2016

Tanggal 		: 23 Februari 2016

Pekerjaan 		 : Pengadaan Revitalisasi Laboratorium Jurusan Biologi

Lokasi			: Fakultas Sains dan TeknologiUIN Maulana Malik Ibrahim Malang

Tahun Anggaran 	: 2016

| No | Nama Barang | Spesifikasi |  |  |  | Vol | Satuan | Harga Satuan (Rp) | Jumlah |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Timbangan Analitik | Product Type | Analytical Balance |  |  | 2 | Buah |  |  |
|  |  | Calibration | External |  |  |  |  |  |  |
|  |  | Capacity (g) | 120 |  |  |  |  |  |  |
|  |  | Dimensions (" W) | 11,9 |  |  |  |  |  |  |
|  |  | Dimensions (" H) | 13 |  |  |  |  |  |  |
|  |  | Dimensions (" D) | 9,1 |  |  |  |  |  |  |
|  |  | Display | Backlit LCD |  |  |  |  |  |  |
|  |  | Readability (g) | 0,0001 |  |  |  |  |  |  |
|  |  | Model | ENTRIS124-1S |  |  |  |  |  |  |
|  |  | Qty/ea | 1 |  |  |  |  |  |  |
|  |  | Linearity (g) | 0,0002 |  |  |  |  |  |  |
|  |  | Repeatability (g) | 0,0001 |  |  |  |  |  |  |
|  |  | Weighing units | g, mg, kg, ct, oz, troy, etc. |  |  |  |  |  |  |
|  |  | Stabilization time | 2.5 Second |  |  |  |  |  |  |
|  |  | Power (VAC) | 120 /220 |  |  |  |  |  |  |
|  |  | RS-232 interface | Yes |  |  |  |  |  |  |
|  |  | Languages | English, French, German, Italian, Polish, Russian, Spanish |  |  |  |  |  |  |
|  |  | Output | RS232 |  |  |  |  |  |  |
|  |  | Manufacturer number | ENTRIS 124-1S |  |  |  |  |  |  |
| 2 | Sentrifuse "Labofuge 200" | No. Katalog 75003631 |  |  |  | 1 | Buah |  |  |
|  |  | Max. Speed | 5300 rpm |  |  |  |  |  |  |
|  |  | Capacity | 12 x 15 ml |  |  |  |  |  |  |
|  |  | Refigerated | No |  |  |  |  |  |  |
|  |  | Max.RCF | 3030 x G |  |  |  |  |  |  |
|  |  | Hertz | 50/60 Hz |  |  |  |  |  |  |
|  |  | Voltage | 110/ 230 V |  |  |  |  |  |  |
|  |  | Control speed | 1600 t0 3500 rpm |  |  |  |  |  |  |
|  |  | Display | Digital |  |  |  |  |  |  |
|  |  | Height (english) exterior | 9.5 in. |  |  |  |  |  |  |
|  |  | Height (metric) exterior | 24 cm |  |  |  |  |  |  |
|  |  | Length (english) exterior | 14.8 in. |  |  |  |  |  |  |
|  |  | Length (metric) exterior | 37.5 cm |  |  |  |  |  |  |
|  |  | Memory | retains last values entered |  |  |  |  |  |  |
|  |  | Motor type | Brushless induction |  |  |  |  |  |  |
|  |  | Net weight (english) | 23.5 lb. |  |  |  |  |  |  |
|  |  | Timer |  |  |  |  |  |  |  |
| 3 | Laboratory Oven | Memmert Universal Oven 110 |  |  |  | 1 | Set |  |  |
|  |  | Set temperature range in °C; min. 5°C above ambient up to +300°C. | min. 5°C above ambient up to +300°C |  |  |  |  |  |  |
|  |  | resolution of display for setpoint values 0.1°C up to 99.9°C, 0.5°C from 100°C and for actual values 0.1°C (LED). Max. loading of chamber: 175 kg. |  |  |  |  |
|  |  | Dimensions W x H x D in mm | w(A) x h(B) x d(C): 560 x 480 x 400 mm |  |  |  |  |  |  |
|  |  | Volume 108 l |  |  |  |  |  |  |  |
|  |  | Voltage Electrical load | 230 V, 50/60 Hz |  |  |  |  |  |  |
|  |  | Voltage Electrical load | approx. 2800 W |  |  |  |  |  |  |
|  |  | Customs tariff number | 115 V, 50/60 Hz |  |  |  |  |  |  |
|  |  | Country of origin | approx. 1800 W |  |  |  |  |  |  |
|  |  | WEEE-Reg.-No. | 8419 8998 |  |  |  |  |  |  |
|  |  | Dimensions approx incl. carton B x H x T: 830 x 1050 x 800 mm |  |  |  |  |  |  |  |
|  |  | Net weight approx. 74 kg |  |  |  |  |  |  |  |
|  |  | Gross weight carton approx. 99 kg |  |  |  |  |  |  |  |
| 4 | COLOR PHOTOMICROGRAPHY DIGITAL CAMERA SYSTEM | Digital - Sight DS - Fi2 |  |  |  | 1 | Unit |  |  |
|  |  | CCD: | 2/3 in. high-density CCD; 5.24 megapixels (effective 5.07 megapixels) |  |  |  |  |  |  |
|  |  | Recordable Pixels: | 2560 x 1920, 1280 x 960, 640 x 480 |  |  |  |  |  |  |
|  |  | ISO Sensitivity: | Equivalent to ISO 64 (Can be varied between ISO 32-1250 equivalent) |  |  |  |  |  |  |
|  |  | Live Display Mode (DS-L3): | 2560 x 1920 (max. 10 fps), 1280 x 960 (max. 21 fps), ROI mode (max. 37 fps) *Display reduced or enlarged to SXGA/XGA |  |  |  |  |  |  |
|  |  | Live Display Mode (DS-L3 w/NIS-Elements): | 2560 x 1920 (max. 2.0 fps), 1280 x 960 (max. 7.8 fps), 640 x 480 (max. 21 fps), ROI mode (max. 37 fps) |  |  |  |  |  |  |
|  |  | Live Display Mode (DS-U3): | 2560 x 1920 (max. 4.4 fps), 1280 x 960 (max. 18 fps), 640 x 480 (max. 21 fps), ROI mode (max. 37 fps) |  |  |  |  |  |  |
|  |  | Exposure Time: | 130 μsec to 60 sec |  |  |  |  |  |  |
|  |  | Lens Mount: | C-mount |  |  |  |  |  |  |
|  |  | Dimensions: | 82.0 (W) x 77.5 (D) x 48.0 (H) mm |  |  |  |  |  |  |
|  |  | Weight: | Approx. 270 g |  |  |  |  |  |  |
|  |  | System Composition: | Camera Cable (3m) |  |  |  |  |  |  |
|  |  | Optional Accessories: | 0.7x Relay Lens (C-mount) for wide field of view observations |  |  |  |  |  |  |
| 5 | Color Cooled digital Photomicrography Camera System | DS - Fi1C |  |  |  | 1 | Unit |  |  |
|  |  | CCD: | 2/3 in. high density CCD; total number of pixels: 5.24 million (effective 5.07 million) |  |  |  |  |  |  |
|  |  | Recordable Pixels: | 2560 x 1920 pixels, 1280 x 960 pixels, 640 x 480 pixels |  |  |  |  |  |  |
|  |  | Sensitivity: | Equivalent to ISO 64 (can be varied between ISO 32-1250 equivalent) |  |  |  |  |  |  |
|  |  | A/D Conversion: | 12-bit |  |  |  |  |  |  |
|  |  | Gain: | 1-24x |  |  |  |  |  |  |
|  |  | Live Display Mode (DS-L2): | 2560 x 1920 (max. 5.6 fps), 1280 x 960 (max. 12 fps), ROI mode (max. 23 fps) * Display reduced or enlarged to SXGA/XGA |  |  |  |  |  |  |
|  |  | Live Display Mode (DS-U2): | 1280 x 960 (max. 7.2 fps), 640 x 480 (max. 11.5 fps), ROI mode (max. 22 fps) |  |  |  |  |  |  |
|  |  | Binning Modes: | 2x2, 4x4 |  |  |  |  |  |  |
|  |  | Exposure Control: | 1/1000 - 60 sec. |  |  |  |  |  |  |
|  |  | Dynamic Range: | More than 60db (1000:1) |  |  |  |  |  |  |
|  |  | Lens Mount: | C-mount |  |  |  |  |  |  |
|  |  | Dimensions: | 77(W) x 76 (D) x 44 (H) mm |  |  |  |  |  |  |
|  |  | Weight: | Approx. 290g |  |  |  |  |  |  |
|  |  | System Composition: | Camera Cable (3m) |  |  |  |  |  |  |
|  |  | Optional Accessories: | 0.7x Relay Lens (C-mount) for wide field of view observations |  |  |  |  |  |  |
| 6 | Spektofotometer Uv-vis | Nano-200 Micro volume uv vis spectrophotometer |  |  |  | 1 | Set |  |  |
|  |  | Wavelength range 230, 260nm, 280nm |  |  |  |  |  |  |  |
|  |  | Detects Nucleic Acid: 10~4000 ng/ul |  |  |  |  |  |  |  |
|  |  | Light source:Xenon ,flash lamp |  |  |  |  |  |  |  |
| 7 | Mikroskop light | Olympus CX 23 |  |  |  | 5 | Unit |  |  |
|  |  | Optical System |  |  | Infinity optical system |  |  |  |  |
|  |  | Illumination system |  |  | Built-in transmitted illumination system, LED Power Consumption 0.5 W (nominal values) |  |  |  |  |
|  |  | Focusing |  |  | Stage height movement (coarse movement stroke: 15 mm), coarse adjustment limit stopper, |  |  |  |  |
|  |  |  |  |  | Torque adjustment for coarse adjustment knob, Fine focus knob (minimum adjustment gradations: 2.5 μm) |  |  |  |  |
|  |  | Revolving Nosepiece |  |  | Fixed quadruple nosepiece |  |  |  |  |
|  |  | Stage |  |  | Wire movement mechanical fi xed stage |  |  |  |  |
|  |  |  |  |  | Traveling range: 76 mm (X) x 30 mm (Y), Specimen holder, Specimen position scale |  |  |  |  |
|  |  | Observation Tube |  |  | 30º inclined binocular tube |  |  |  |  |
|  |  |  |  |  | Interpupillary distance adjustment range: 48 – 75 mm, Eyepoint adjustment: 370.0 – 432.9 mm with Locking Pin for Safety Rotation. |  |  |  |  |
|  |  | Objectives |  |  | Plan Achromat, anti-fungus |  |  |  |  |
|  |  |  |  |  | 4x NA: 0.10 W.D.: 27.8 mm 10x NA: 0.25 W.D.: 8.0 mm 40x NA: 0.65 W.D.: 0.6 mm 100xOil NA: 1.25 W.D.: 0.13 mm (CX23LEDRFS1 only) |  |  |  |  |
|  |  | Eyepiece (10x) |  |  | Field Number (FN): 20 (anti-fungus) with eyepoint height adjustment |  |  |  |  |
|  |  | Weight |  |  | Approx. 5.9 kg |  |  |  |  |
|  |  | Rated Voltage/Electric Current |  |  | AC 100–240 V 50/60 Hz 0.4 A |  |  |  |  |
|  |  | Power Consumption |  |  | Less than 2 W |  |  |  |  |
|  |  | Body |  |  | Aluminum die-casting metal frame, Protective covering With Convenient and easy access power cable storage, Security Slot and Ergonomic grips add safety when retrieving the microscope from high places. |  |  |  |  |
|  |  | Complette With |  | Eye Piece Pointer |  |  |  |  |  |
|  |  |  |  | Free Maintenance 2 Year |  |  |  |  |  |
| 8 | Vertical Laminar Air Flow | SKU: LCB-0101-V |  |  |  | 1 | Unit |  |  |
|  |  | HEPA Filter |  |  |  |  |  |  |  |
|  |  | Mudah untuk penggantian filter |  |  |  |  |  |  |  |
|  |  | Laminar Air Flow dan kecepatan udara Uniform |  |  |  |  |  |  |  |
|  |  | Built-in Lampu dan Opsional Utilitas\ |  |  |  |  |  |  |  |
|  |  | Stainless Stell body berbahan baja |  |  |  |  |  |  |  |
|  |  | Tempered Glass pada bagian dinding |  |  |  |  |  |  |  |
|  |  | Tingkat Rendah kebisingan dan getaran bebas |  |  |  |  |  |  |  |
|  |  | Laminar Air Flow 0,3 ~ 0,6 m/s |  |  |  |  |  |  |  |
|  |  | Vertical Air Flow 980m3/h |  |  |  |  |  |  |  |
| 9 | Large Gel Electrophoresis System with Power Supply | Sub-Cell® Model 96 Cell 1704503, Cell size (W x L x H): 29 x 30 x 9 cm, Sample throughput: 24–96, Model 96 Gel Caster:1704514, UV-Transparent Gel Tray:1704521. |  |  |  | 1 | set |  |  |
| 10 | Sub-Cell (Horizontal Electrophoresis) | Mini-Sub® Cell GT Horizontal Electrophoresis System and PowerPac™ Basic Power Supply - 1640300 Mini horizontal electrophoresis system, includes 8- and 15-well combs, gel caster, 7 x 10 cm (W x L) UV-transparent tray, basic power supply (#1645050) |  |  |  | 1 | set |  |  |
| 11 | Spindown micro centrifuge | Approx. 6400rpm, approx.2046g, rotor for 1,5/2.0 ml tube, dan 16x 0,2 ml PCR tubes, diameter: 131,9 mm, height: 156.7 mm, weight: 620,indicator LED. Katalog Nomor 1090003. |  |  |  | 1 | Set |  |  |
| 12 | Mini Laminar Air Flow Biosafety Cabinet | Modell BSC-700II, External dimensions (WxDxH mm): 700 x 650 x 1230, Main filter: HEPA (WxDxH mm): 600 x 370 x 69, Front glass door: Vertical Sliding, single layer toughened glass, Air circulation: 70%, Air exhaust:30%, Control system: Microprocessor, Material working aera: 304 Stainless steel, Clean level: Clas 10, Noise level: 65dB, |  |  |  | 1 | set |  |  |
| 13 | Rotor centrifuge | Centrifuge (Stratos), Thermo/Heraeus Biofuge Stratos, microliter rotor 24x1,5 ml (id: 75003331) dan microliter rotor 24x2,0 ml (id: 75003332) |  |  |  | 1 | set |  |  |
| 14 | Anaero Box-L (LA805, Himedia) | Anaero Box – L Transparent unbreakable polycarbonate box, Size 28.5cms x 22cms x 11cms, Capacity : 7 litre |  |  |  | 1 | buah |  |  |
| 15 | Anaero Box-L (LA806, Himedia) | Anaero Box – S Transparent unbreakable Polycarbonate box, Size : 19.8cms x 13.7cms x 9cms, Capacity : 2.5 litre |  |  |  | 1 | buah |  |  |
| Jumlah |  |  |  |  |  |  |  |  |  |
| PPN 10% |  |  |  |  |  |  |  |  |  |
| Jumlah Biaya |  |  |  |  |  |  |  |  |  |
| Terbilang: |  |  |  |  |  |  |  |  |  |

NB :

* harga sudah termasuk pajak

* Mohon mencantumkan MERK barang

PejabatPembuatKomitmen ,

Dr. drh. Hj. Bayyinatul Muchtaromah, M.Si

NIP 19710919 200003 2 001