|  | KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id |
| --- | --- |

Nomor 		:  Un.03/KS.01.7/2664/2016                              			     14 Juli 2016

Lampiran 	:  1 (satu) bendel

Perihal 		:  Permohonan Informasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Sarana Prasarana Jurusan Farmasi Fakultas Sains dan Teknologi UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2016, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, serta kualifikasi perusahaan saudara memenui kriteria, maka kami akan jadikan sebagai Harga Perkiraan Sendiri (HPS) terhadap pekerjaaan tersebut.

Kami harap data harga barang dapat kami terima paling lambat pada :

Hari	: 	Senin

Tanggal	: 	18 Juli 2016

Jam 	:	14.00 wib

Tempat 	: 	Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Adapun informasi harga tersebut bisa dikirim ke kantor ULP UIN Maulana Malik Ibrahim Malang, atau difax di no (0341) 570886 dan atau dikirim via e-mail ke : ulp@uin-malang.ac.id atau ulp_uinmalang@kemenag.go.id.

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Wassalamu’alaikumWr. Wb.

Pejabat Pembuat Komitmen ,

Dr. H. Sugeng Listyo Prabowo, M.Pd

NIP 19690526 200003 1 003

Lampiran	:

Surat Permohonan Informasi Harga Barang

Nomor 	: Un.03/KS.01.7/2664/2016

Tanggal 	: 14 Juli 2016

Pekerjaan 		: Pengadaan Sarana Prasarana Jurusan Farmasi

Lokasi			: Fakultas Sains dan TeknologiUIN Maulana Malik Ibrahim Malang

Tahun Anggaran 	: 2016

| No | Nama Barang | Volume |  | Harga Satuan (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- |
| A 1 | Alat Laboratorium Teknologi Formulasi Liquid Dissolution Tester (lengkap dgn basket dan syringe) Spesifikasi: Dissolution tester for USP method 2 (Paddle) with 6 test stations Fixed drive head (High-Head) with easy access to vessels 100% USP/EP/JP compliant Rotation speed 20 - 220 rpm Function keypad with individual UP/DOWN keys for each test parameter Fulfills all specifications in accordance with FDA “Mechanical Calibration” Evaporation less than 1% during 24 h (37 °C / 50 rpm / 1000 ml) USB-A printer interface (for selected printers) USB-B interface for PC connection External high power heater; heating range: 20-50°C, even distribution of temperature External PT 100 temperature sensor One piece PET moulded waterbath for up to 6 vessel Dimensions : 510 (width) / 450 mm (depth) / 660 mm (height) / 34 kg (weight) LOA. | 1 unit |  |  |  |
| 2 | Vibration shieve shaker (1 paket mesin dan ayakan) Spesifikasi: Measuring range : 20 µm – 25 mm Max. batch / feed capacity : 3 kg Max. mass of sieve stack : 4 kg Adjustment of sieving parameters : Amplitude : analog 0 – 3 mm Time : analog 1 – 60 min Suitable for wet sieving Suitable sieve diameters : 100 mm – 203 mm Height of sieve stack : bis 450 mm Net weight : approx. 30 kg Including: Complete with sieve, Clamping device 'economy', pan, test sieve LOA. | 1 unit |  |  |  |
| 3 | Moisture Spesifikasi: Capacity 101 g. Readability 1 mg, 0.01% MC. Repeatability 0.10% (2 g sample), 0.015% (10 g sample). Heating Halogen. Temperature range 40 – 230°C (1°C increments). Drying programs Standard, Rapid. Switch-off Automatic (5 SOC and free), timed. Display modes %MC, %DC, %ATRO MC, % ATRO DC, g. Method memory 20. Results storage 100. Connectivity USB host (2), USB device, RS232. Display 7” color touchscreen. Languages en, de, fr, es, it, pl, cz, hu, pt, ja, zh, ko. Icl IQ/OQ, training, pemasangan, Kalibrasi KAN massa & temperature Sama atau setara dengan merk mettle LOA. | 1 unit |  |  |  |
| 4 | Autoklave Spesifikasi: Kapasitas 18 L Volume of The Sterilizing Drum 0,018 m 3 rated working pressure 0,14 - 0,16 Mpa Max safe pressure 0,165 Mpa pressuure adjust range 0,05 - 0,14 Mpa Timer range 0 - 60 min Drum size 280 x 260 mm. | 2 unit |  |  |  |
| 5 | Density meter Spesifikasi: Accuracy +/- 0.001 g/cm3. Measurement range 0 to 2 g/cm3.. Resolution Temperature range 5-35° LOA. | 1 unit |  |  |  |
| B 1 | Alat Lab. Instrumentasi KLT Densitometer Spesifikasi: TLC Basic Kit 20x20. •Nanomat 4 (1), without capillary pipettes and holder The Nanomat 4 serves for easy application of samples in the form of spots onto TLC and HPTLC layers, precisely positioned and without damage to the layer. The actual sample dosage is performed with a disposable capillarypipette, which is precisely guided, thus ensuring that the chromatogram can be scanned automatically according to a programmed pattern.. • Saturation pads (1), pack of 100 (20 x 20 cm) • Twin Trough Chamber (2) for 20 x 20 cm plates, with stainless steel lid • smartAlert solvent front monitor (1) (only suitable for glass plates) smartAlert serves for dependable monitoring the development of a glass plate in a glass developing chamber. - Gives acoustic and visual notice when the mobile phase has reached the desired developing distance - Replaces a timer or stop watch Works with glass chambers for plate sizes 20x20, 20x10 and 10×10 cm - Battery operated • Glass Reagent Sprayer (1), all glass, with 100 mL erlenmeyer flask • Capillary dispenser consisting of universal capillary holder (1), One Dispenser magazine for 1 µL capillaries, and one package of 5 x 100 disposable capillary pipettes 1 µL • Dispenser magazine for 2 µL capillaries (1), without capillaries • Dispenser magazine for 5 µL capillaries (1), without capillaries • Disposable capillary pipettes 2 µL (1), pack of 5 x 100 • Disposable capillary pipettes 5 µL (1), pack of 5 x 100 • Viewing Box 4 (1) • UV lamp 4 dual wavelength (1) 254/366 nm, 2 x 8 W • MERCK TLC plates silica gel 60F 254 (1), 20 x 20 cm, pack of 25 LOA. | 1 unit |  |  |  |
| 2 | Spektrofotometer infra red (1 unit FTIR + aessories + 1 PC + 1 printer) Spesifikasi: Interferometer 25 mm, permanently aligned, Michelson, 45°, mechanical flexture. Enclosure Sealed and desiccated. Spectrometer interface USB-2. Size 16 x 31 x 13 cm (6 x 12 x 5 inches) (W x D x H). Weight 3.8 kg (8 lbs). Sample interface DialPath (30 to 250 µm), TumblIR, Diamond ATR, Diffuse Reflectance, Transmission. Software Agilent MicroLab PC software, Automated IQ/OQ, 21 CFR Part 11 compliant, (optional). Resolutions Pro for advanced data analysis.. Power 110 – 240 V AC, 60/50 Hz. Spectral range KBr 7000–350 cm-1. ZnSe 5100–600 cm-1. Spectral resolution < 2 cm-1. Wavenumber accuracy 0.05 cm-1 Measured with NIST 1921. Wavenumber reproducibility 0.005 cm-1 Measured with NIST 1921. Warranty Five (5) year interferometer, Five (5) year laser, Three (3) year source. Location dependent. Hardware support period Seven (7) years from date of last unit manufacture. After this time,. parts and supplies will be provided if available. Software support Software upgrades to add additional functionality will attract a fee.. LOA. Accessories:. Agate Mortar and Pestle Diameter 100mm (1 unit). Printer. Print speed Up to 18 ppm ISO black (A4). Print resolution Up to 600 x 600 dpi (1200 effective dpi with HP FastRes 1200) black. Monthly duty cycle Up to 5,000 pages (A4); Recommended monthly page volume: 250 to 1,500. Print technology Laser. Print Area Print margins: Top: 4 mm; Bottom: 4 mm ; Left: 4 mm; Right: 4 mm;. Maximum print area. Print languages Host-based printing. Print cartridges number 1 (black). Mobile printing capability CE651A: None;. CE658A: HP ePrint, Apple AirPrint™, HP wireless direct printing. Automatic paper sensor No. Processor speed 266 MHz. Display None. Wireless CE651A: Optional, enabled with purchase of a hardware accessory. CE658A: Yes, WiFi 802.11b/g. Network ready CE651A: Optional. CE658A: Standard (built-in WiFi 802.11b/g). Memory card compatibility None. Hard Disk None. Media types Paper (laser, plain, photo, rough, vellum), envelopes, labels,. cardstock, transparencies, postcards. Media sizes Supported: A4, A5, A6, B5, postcards, envelopes (C5, DL, B5). Custom: CE651A: 150-sheet input tray: 76 x 127 to 216 x 356 mm;. CE658A: 150-sheet input tray: 147 x 211 to 216 x 356 mm;. priority feed slot: 76 x 127 to 216 x 356 mm. Media Handling Input capacity: Up to 150 sheets; Up to 15 envelopes. Output capacity: Up to 100 sheets, Up to 15 envelopes. Maximum: Up to 100 sheets. Duplex printing: Manual (driver support provided). Paper weight 60 to 163 g/m². Printer management HP Status and Alerts; HP Usage tracking (CD install only). Compatible operating systems Windows 10, Windows 8, Windows 7 (32-bit/64-bit), Windows Vista. (32-bit/64-bit), Windows Server 2008 (32-bit/64-bit), Windows Server 2003. (32-bit/64-bit); Mac OS X v10.4, v10.5, v10.6; Linux. Minimum system requirements Windows: Windows 10, Windows 8, Windows 7 (32-bit/64-bit): 1 GB RAM;. Windows Vista (32-bit/64-bit), Windows Server 2008 (32-bit/64-bit), Windows. Server 2003: 512 MB RAM; All systems: 350 MB available hard disk space,. CD-ROM drive, USB port. Mac. Printer dimensions (W x D x H) CE651A: 349 x 238 x 196 mm; Maximum 349 x 410 x 228 mm. CE658A: 349 x 238 x 196 mm; Maximum 349 x 410 x 228 mm. Package dimensions (W x D x H) 400 x 250 x 298 mm. Printer Weight CE651A: 5.3 kg. CE658A: 5.3 kg. Operating environment Temperature: 15 to 32.5º C, Humidity: 30 to 70% RH. Storage Temperature : -20 to 40º C, Humidity: 10 to 90% RH. Acoustics Acoustic power emissions: 6.4 B(A); Acoustic pressure emissions: 51 dB(A). Power Requirements: Input voltage: 220 to 240 VAC (+/- 10%),. 50 Hz (+/- 2 Hz), 6 A.. Consumption: CE651A: 360 watts (active), 1.4 watts (ready),. 0.9 watts(auto-off), 0.6 watts (manual-off).. Typical Electricity Consumption (TEC): 0.505kWh/WeekCE658A: All. values measured with WiFi enabled: 370 watts (active),2.7 watts. (standby), 2.0 watts (Auto-Off), 0.6 watts (off); Typical Electricity. Consumption (TEC): 0.704 kWh/week.. Internal. PC Dekstop. Form Factor : Desktop All-in-one 21.5" dengan varian layar sentuh multitouch.. Berat : 14.3 lbs (6.5 kg). Dimensi : 20.87" x 1.97" x 16.85" (530 mm x 50 mm x 428 mm). Port 2 USB 3.0, 4 USB 2.0, 6-in-1 card reader, port HDMI-out opsional,headphone, mic, LAN. Prosesor : Intel® Core™ i3 Generasi Keempat. DOS -. Kartu Grafis : NVIDIA® GeForce® 705A 2GB. Layar : LED 21.5" Full HD (1920 x 1080). HDD : 500GB & 1TB. Accesories : Keyboard and mouse. | 1 unit |  |  |  |
| 3 | Spektrofotometer UV-Vis Spesifikasi: Wavelength range : 190 to 1100nm Spectral bandwidth : 1nm (190 to 1100nm) Wavelength display : 0.1-nm increments Wavelength unitting : 0.1-nm increments (1-nm increments when unitting scanning range ) Wavelength accuracy : ±0.1nm at 656.1nm D2 ±0.3nm (190 to 1100nm) Wavelength repeatability : ±0.1nm Stray light : less than 0.02% NaI at 220nm, NaNO2 at 340nm less than 1.0% KCｌ at 198nm Photometric system : Double Beam Photometric range : Absorbance: -4 to 4 Abs Transmittance: 0% to 400% Photometric accuarcy : ±0.002 Abs (0.5Abs) ±0.004 Abs (1.0Abs) ±0.006 Abs (2.0Abs) Photometric repeatability : less than ±0.001 Abs (0.5Abs) less than ±0.001 Abs (1Abs) less than ±0.003 Abs (2.0Abs) Baseline stability :less than 0.0003 Abs/H at 700nm (one hour after light source turned ON) Baseline flatness : within ±0.0006 Abs (190 to 1100nm,one hour after light source turned ON) Noise level :Within 0.00005 Abs RMS value (at 700nm) Dimensions (W×D×H) : 450(W) x 490(D) x 270(H) Weight : 15 kg Printers : DPU, ESC/P, PCL printers, USB I/F Windows-compliant printers are available with USB memory and PC software Memory : USB memory (option) Saved as text and UVPC file Performance for PC : USB memory＋UVProbe (standard) Win XP Include: CABLE KU20-2, Synthehtic quarth cell with PTFE Lid or stopper, HP Lcd Monitor 18.5", Prolink online UPS 1 KVA 220 V/1 Phase/50 Hz professional Serries, Desktop PC HP 280 G2 MT i5-6500 4 GB 500 GB Win 7 Pro 32, HP Deskjet 1112 printer LOA. | 1 unit |  |  |  |
| C 1 | Alat Laboratorium Analisis Farmasi Neraca analitik Spesifikasi: Capacity : 210 g. Readability : 0.0001 gram. Draftshield designed including 3 sliding door. Application Modes: Weighing, parts counting (with APW optimization), percentage weighing. Weighing units: g, mg, ct, oz, ozt, gn, dwt. Approval : Class I. interface : RS232, bi-directional. Span Calibration: 100, 200 g. Linearity : 0.002ct. Power : AC adapter (included). Tare range: To capacity by subtraction. Stabilization time ( seconds) : 4. Gross weight (kg) : 4,6 kg. Shipping weight (kg) : 7,5 kg. Balance dimensions, WxHxD : 7.7 × 12.6 × 9.2 in 196 × 320 × 232 mm. Protective Plastic Case: Yes. Operating Temperature Range: 50° F / 10° C to 86° F / 30° C at 10% to 80% relative humidity, non-condensing. Storage temperature : -40° F / -40° C to 131° F / 55° C at 10% to 80% relative humidity, non-condensing. | 2 unit |  |  |  |
| 2 | Hot plate stirrer Spesifikasi: With Kera-Disk® material coating, fast heat-up times and chemical resistance. Speed accuracy (%) : ±2. Display : no digital. Heating Power(W) : 800 (600 W for 115 V-units). Hot plate temperature (°C) : 20-300. Medium temperature, max (°C) : 250. Accuracy temperature unitting (°C) : ±5. Temperature control : micro controller. Temperature accuracy hotplate (°C) : ±5. Stirring capacity, max. H2O (L) : 20. Load, max. (kg) : 25. Power consumption (W) : 820. Permissible ambient temperature(°C) : 0-40. Max. relative humidity (%) : 80. Max. permitted operation (%) : 100. Plate diameter (mm) : Ø145. Plate material : V2A. Weight (kg) : 2.9. Dimension (l x w x h) (mm) : 173 x 277 x 94. Protection class (DIN EN60529) : IP 32. Supply voltage (V/Hz) : 230/50. Kecepatan pengadukan konstan meskipun viskositas/kekentalan larutan berubah. mempunyaI sebuah sirkuit keselamatan independen yang OTOMATIS mematikan pemanas jika Suhu hotplate berjalan di atas 25 ° C dari suhu yang diunitel (mencegah terjadinya overheat hotplate). on / off switch untuk pemanasan terpisah untk mencegah panas yang tidak disengaja. Jika pemanasan diaktifkan, tombol on / off menyala untuk kontrol visual.. | 2 unit |  |  |  |
| 3 | Extraction Mantle Spesifikasi: Flask Capacity : 500 mL Thermal Insulation : Ceramic Fibre ( mineral wood in economy model ) Energy controller : built in simmerstat max temperature : up to 450 deg C case contruction : aluminium spun body, powder coated mains chord : 3 core, 2 meter long mains power : 220 - 240 V single phase A/C replacement element : available sama atau setara dengan merk Gopal. | 2 unit |  |  |  |
| 4 | Lampu UV + house (untuk KLT) Spesifikasi: Terdiri dari :. Box atau kabinet tempat lampu UV. Lampu UV dengan panjang gelombang dapat diunitting pada panjang gelombang 254/366 nm, 2 x 8 W. | 1 unit |  |  |  |
| 5 | Vortex mixer Spesifikasi: speed : 0 - 2500 rpm. kapasitas : 1 tabung. Automatic start in touch mode or continuous operation. 110V/60Hz. Reliable Performance. Accessories fit by simple pressure. Optimum resistance to chemicals from technopolymer casing. Excellent stability with zinc alloy base. Large, anti-slip rubber feet for staying in required position. IP 42 protection against particles and liquids. | 2 unit |  |  |  |
| D 1 | Alat Laboratorium Farmakognosi Mikroskop spesifikasi: - Setara dengan merk olympus - Body : Aluminium die-casting metal frame, Protective covering - Optical System : Infinity optical system - Illumination system : Built in trasnmitted illumination system, LED Power Consumption 0.5 W (nominal value) - Focusing mechanism : Stage height movement (Coarse movement stroke : 15 mm), coarse adjustment limit stopper. Torque adjustment for coarse adjustment knob, Fine focus knob (minimum adjustment gradations: 2.5 µm) - Revolving nosepiece : Fixed quadruple nosepiece - Stage : - Wire movement mechanical fixed stage - Traveling range: 76 mm (X) x 30 mm (Y) - Specimen holder - Specimen position scale - Observation tube : 30 inclined binocular tube. Interpupilary distance adjustment range : 48-75 mm Eyepoint adjustment : 370.0 – 432.9 mm 8. Objectives : Plan achromat, (anti-fungus) 4x NA:0.10 W.D.: 27.8 mm 10x NA: 0.25 W.D.:8.0 mm 40x NA:0.65 W.D.:0.6 mm 100xOil NA:1.25 W.D.:0,13 mm 9. Eyepiece (10x) : Field Number (FN) : 20 (anti-fungus) 10. Optional Accessories : Reflection mirror (CH20-MM) 15x eyepiece (WHSZ 15X-H: FN 12, anti-fungus) Dedicated wooden case Eyepiece micrometer Darkfied stop (CH2-DS+CH2-FH) 11. Weight : Approx 5.9 kg 12. Rated voltage/ Electric Current : AC 100-240 V 50/60 Hz 0.4 A 13. Power Consuption : Less than 2 W. | 11 unit |  |  |  |
| E 1 | Alat Lab. Fitokimia dan Fitofarmasi Heating bath Spesifikasi: - Universal use for both water and oil - Ergonomically designed handles - Safety temperature cut off - Integrated dry-run control - Lock function prevents accidental change of unit conditions - Micro-controller temperature control - Accuracy ±1 Kelvin - Heater power 1300 Watt - Optimized bath volume guarantees fast heat-up - Designed to work with IKA rotary evaporators. Specification :. Heat output [W] 1300. Heating temperature range [°C] : Room temp. - 180. Heat control LCD. Unit temperature resolution [±K] 1. Controller oscillation (3 l water / 90 °C) [±K] 1. Controller oscillation (3l Silicone oil / 50mPas / 150°C) [±K] 2. Filling volume max. [liter] 3. Filling point min. [mm] 50. Material in contact with medium stainless steel 1.4404. Fixed safety circuit [°C] 180. Adjustable safety circuit min. [°C] 50. Adjustable safety circuit max. [°C] 190. Safety class DIN 12877 II. Outer height [mm] 185. Inner height [mm] 134. Dimensions (W x H x D) [mm] 295 x 190 x 265. Weight [kg] 3. Permissible ambient temperature [°C] 5 - 40. Permissible relative humidity [%] 80. Protection class according to DIN EN 60529 IP 21. Voltage [V] 220 - 240 / 100 - 120 / 100. Frequency [Hz] 50/60. Power input [W] 1350. | 1 unit |  |  |  |
| 2 | Ice Condensor Spesifikasi: Vertical condenser for all standard distillations, compact. The solvent to be distilled can be continuously fed in through the PTFE inlet tube.. Including :. 1000 ml evaporator flask. 1000 ml receiving flask. | 1 unit |  |  |  |
| 3 | Pompa vakum Spesifikasi: ( Oilless Diaphragm Vacuum Pump ) - Tekanan Vacuum ( 24 ” Hg) - Tekanan Pressure ( 60 PSI) . - Motor : 1/ 8 HP 1.1 Cfm Of Free Air Flow. Electricity : 220V / 50 – 60 Hz . Measures 6 ” X 11 ” X 8 ” And Weighs 18 Lbs. | 1 unit |  |  |  |
| 4 | Laminar Air Flow Spesifikasi: Meja kerja : Stainless steel 304 Interior : Stainless steel Main Body : galvanized, spray epoxy Size : 650 x 600 x 600 ( w x d x h ) Electrical : 220V, 50 Hz, 1 Phase Power : 400 VA / 2 A Motor Fan : carbonless DC, speed control 4 level Filter : Hepafilter 99.992 %, Megalam MD 13 Particle size : 0.3 um Door : Balanced sliding up & down Accessories : Flouresent lamp, TL 10 watt 2 pc UV jenis TL 15 watt 1 pc. | 1 unit |  |  |  |
| 5 | Universal Inkubator Spesifikasi: Dimensions Inner (w x d x h) : 400 x 400 x 500 cm Outer (w x d x h) : 550 x 567 x 827 cm Capacity : 80 Liter Heater : 200 W Temperature Range : Ambient ± 5 ᵒC to 70 ᵒC Unit Accuracy : ± 0.1 Uniformity : ± 0.5 ᵒC at 37 ᵒC Display : LED 4 Digit Display Controller : Microprocessor PID Multi-function Controller Timer : 99 hr 59 min / continuous Selectable Material interior : stainless steel (SUS 304) exterior : Epoxy Powder Coated Steel Shelves : adjustable 2 & 4 Shelves Door inner : Tempered Safety Glass Outer : Silicone Packing Double Door Circulation : Forced Convection Air Ciroolation Safety : Over Temp. Cut-Off / Over Current breaker Electric Supply : 220V, 50/60Hz. | 1 unit |  |  |  |
| F 1 | Alat lab. Kimia Farmasi Utra-sonic Cleaner Spesifikasi: The most technologically advanced of the SONICA range : new sweep system generator modern digital display control panel windows; degas time unitting; cleaning times from 0 to 99 minutes; tank liquid temperature unitting up to 70 °C memory for 10 cleaning programmes; jet program function to start quickly and easly cleaning cycle. User programmable touch control keypad Selectable power levels User cleaning real time digital display Safety alarms Specification : Tank Dimension (mm) : 300 x 150 x 100 - External Dimension (mm) : 325 x 175 x 260 Capacity Liters : 4,5 L - Frequensi : 40 ± 5 Khz - US Peak Power (W) : 360 - Stopcock : Ø 7 mm. | 1 unit |  |  |  |
| 2 | Lemari Asam Spesifikasi: ukuran : 533 x 600 x 660 cm. Dapat dipindahkan (movable). Overall dimension (wxdxh) : 595 x 760 x 1120 mm. Useful dimension(wxhxd) : 533 x 600 x 660 mm. Exhaust duct (ø) : 200. Working aperture : 200 mm. Max front aperture : 455 mm. Weight (approx.) w/o filter : 70 kg. Filter :. Pre-filter (particulate) : 1. Main filter (charcoal) : 1. Electrical. Supply (V/Hz) : 220-240. Power (W) : 88. Lighting (Watt) : 2x15. AirFlow. Vol/air treated (m3/h) : 300. Average face speed (m/sec) : >0,6. Controls. Version Top. • Power on/off • Light on/off • Variable speed air regulation • Hour-counter • Stand-by green light. Version Elite. • Power on/off • Light on/off • Microprocessor monitoring system checking airflow, pre-filter and filter efficiency. • Variable speed air regulation. • Audible and visual alarms alert the operator to low/high airflow, fan failure, filter and pre-filter condition, black-out, gas detector and anemometer failure.. Construction. Head section : Epoxy coated, zinc plated steel. Base section : Anodized aluminium. Spill tray PVC Acid and solvents resistant. Fan Motor. Centrifugal IP54. | 1 unit |  |  |  |
| 3 | pH meter spesifikasi: Range pH : -2.00 to 16.00 pH. Range Temp : -5.0 to 105.0°C. Resolution PH : 0.01 pH. Resolution Temp : 0.1°C. Accuracy pH : ±0.02 pH. Accuracy Temp : ±0.5°C up to 60°C / ±1°C outside. pH calibration : automatic, 1 or 2 point, with 3 memorized buffers value. Temp. Calibration : factory. Temperature compensation : automatic or 25°C fixed. pH meter is supplied complete with a pH Epoxy body electrode, stainless steel temperature probe, electrode cleaning solution, shockproof rubber boot, batteries and instruction manuals.. Auto-off after 8 minutes of non-use conserves energy and lengthens battery life-span.energy and lengthens battery life-span.. | 1 unit |  |  |  |
| 4 | Sentrifuge Spesifikasi: small centrifuge with a swing-out rotor. Power supply : 200-240 V 1̴. Frequency : 50–60 Hz. Consumption : 130 VA. Emission, Immunity : EN/IEC 61326-1, class B. Max. Capacity : 6 x 15 ml. Max. RPM (speed) : 4,000 min-1. Max. RCF : 2,254. Running time 1 – 99 min, continuous run, short cycle mode (impulse key). Dimensions (H x W x D) : 239 x 326 x 389 mm. Weight approx. 14 kg. SAFETY. • Lid locking and holding. • Imbalance switch-off. • Emergency lid lock release. • Lid dropping protection. DESIGN. • Smooth plastic housing, easy to clean. • Metal lid. • Centrifugation chamber of stainless steel. | 1 unit |  |  |  |
| G 1 | Alat Lab. Penelitian Mahasiswa Neraca analitik Spesifikasi: Capacity : 210 g. Readability : 0.0001 gram. Draftshield designed including 3 sliding door. Application Modes: Weighing, parts counting (with APW optimization), percentage weighing. Weighing units: g, mg, ct, oz, ozt, gn, dwt. Approval : Class I. interface : RS232, bi-directional. Span Calibration: 100, 200 g. Linearity : 0.002ct. Power : AC adapter (included). Tare range: To capacity by subtraction. Stabilization time ( seconds) : 4. Gross weight (kg) : 4,6 kg. Shipping weight (kg) : 7,5 kg. Balance dimensions, WxHxD : 7.7 × 12.6 × 9.2 in 196 × 320 × 232 mm. Protective Plastic Case: Yes. Operating Temperature Range: 50° F / 10° C to 86° F / 30° C at 10% to 80% relative humidity, non-condensing. Storage temperature : -40° F / -40° C to 131° F / 55° C at 10% to 80% relative humidity, non-condensing. | 1 unit |  |  |  |
| H 1 | Alat Lab. Teknologi Formulasi Solid Hardness plus thickness tester Spesifikasi: Range : 0 to 520 Newtons  0.1 N The result is displayed on the 4-line LCD displays in either newtons (N),. pounds (lbs), kiloponds (kp), or kilograms-force (kgf).. Provided with RS232 and USB ports for an external PC or printer.. Constant platen movement : 0.06 to 0.5 mm per second, with a default. unitting at 0.1 mm. Acceptable tablet diameter : up to 36 mm. Weight : approx. 8.5 kg. Dimension : 283 x 235 x 160 mm (including in-built printer and optionalkeyboard). Including:. In-Built Printer. Compact Keyboard. Pack of 10 paper rolls. Mitutoyo Thickness Measuring Gauge. Calibration Rig. Unit of Calibration Weights. Other Qualification Tools (Certified stopwatch, Gauge blocks). IQ/OQ/PQ Documentation Pack LOA. | 1 unit |  |  |  |
| Jumlah |  |  |  |  |  |
| Terbilang : |  |  |  |  |  |

NB :

* harga sudah termasuk pajak, Engineering Service Charge, Accomodation & Transportation

Pejabat Pembuat Komitmen ,

Dr. H. Sugeng Listyo Prabowo, M.Pd

NIP 19690526 200003 1 003