KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id

Nomor 		: Un.3/KS.01.7/4647/2016						02 Desember 2016

Lampiran 	: 1 (satu) bendel

Perihal 		: Permintaan Informasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Penambahan Penerangan Taman UIN Maulana Malik Ibrahim Malang, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang Harga Jasa sesuai dengan Rincian Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari			: Selasa

Tanggal		: 06 Desember 2016

Tempat 		: Kantor Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Surat tentang informasi harga barang tersebut, ditujukan:

Kepada Yth:

Pejabat Pembuat Komitmen

Universitas Islam Negeri Maulana Malik Ibrahim Malang

Jalan Gajayana No. 50 Malang

Adapun informasi harga tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.id atau ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Dr. H. Sugeng Listyo Prabowo, M.Pd

NIP. 19690526 200003 1 003

| Lampiran | : | Surat Permintaan Informasi Harga |
| --- | --- | --- |
| Nomor | : | Un.3/KS.01.7/4647/2016 |
| Tanggal | : | 02 Desember 2016 |

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: Penambahan Penerangan Taman

Lokasi	: UIN Maulana Malik Ibrahim Malang

Tahun	: 2016

| No | Uraian Pekerjaan dan Gambar | Spesifikasi Teknis | Volume |  | Harga Satuan (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Pemasangan Lampu LED disepanjang bibir sungai Gambar : | LED Strip Water Proof (A1) G DC 50 W1 (15-418) Part Number; 15-418. Model; G DC 50 W1. Led Color; White. Led Type; SMD 5050. Led Qty per Meter; 60 Pcs. Led Qty per Cutting; 3 Pcs. Length per Roll; 50 Mtr. Cutting Length; 5 Cm. Input Voltage; 12 Vdc. IP Rating; IP 64. Power; 13,6 Watt / Mtr. N.G; 0,26 Kg. G.W; 0,3 Kg. Unit Size; 1 x 1 x 0,3 Cm. Packing Size; 18 x 18 x 1 Cm. | 256 | M |  |  |
| 2 | Pemasangan Lampu LED di sepanjang bibir anak sungai Gambar : | LED Strip Water Proof (A1) G DC 50 W1 (15-418) Part Number; 15-418. Model; G DC 50 W1. Led Color; White. Led Type; SMD 5050. Led Qty per Meter; 60 Pcs. Led Qty per Cutting; 3 Pcs. Length per Roll; 50 Mtr. Cutting Length; 5 Cm. Input Voltage; 12 Vdc. IP Rating; IP 64. Power; 13,6 Watt / Mtr. N.G; 0,26 Kg. G.W; 0,3 Kg. Unit Size; 1 x 1 x 0,3 Cm. Packing Size; 18 x 18 x 1 Cm. | 200 | M |  |  |
| 3 | Pemasangan lampu Stage RGB Outdoor Gambar : | Lampu Stage RGB Outdoor (D2) CT-520 RGB [42-764] Specifications. Part Number; 42-764. Model; CT-520 RGB. LED Unit; (R:24x2 , G:24x2, B:24x2, W:24x2) x 3W LED unit. Beam Angle; 250 (450 /150 optional). DMX Channels; 11 Channels. Controls; auto, master/slave, DMX 512 mode. Mixing Color; RGBW mixing color. Dimmer; 0-100% non-linear dimming. Rotate Angle; Single 900 ; Whole1800. Dimension; 690 x 420 x 530 mm. | 3 | Unit |  |  |
| 4 | Pemasangan lampu taman Gambar : | Lampu taman Floor LED 070 W2 [49-070] Code Type; 49-070. Model; Floor LED 070 W2. Color; W2. LED Type; SMD LED. Power Consumption; 1.6W. Voltage; 24V DC. LED Qty; 21pcs. Size; L : 9cm ; luar : 9cm ; dalam : 5cm. | 20 | Unit |  |  |
| 5 | Pemasangan lampu taman gantung model geometri Gambar : | LED Strip Water Proof (A1) G DC 50 W1 (15-418) Part Number; 15-418. Model; G DC 50 W1. Led Color; White. Led Type; SMD 5050. Led Qty per Meter; 60 Pcs. Led Qty per Cutting; 3 Pcs. Length per Roll; 50 Mtr. Cutting Length; 5 Cm. Input Voltage; 12 Vdc. IP Rating; IP 64. Power; 13,6 Watt / Mtr. N.G; 0,26 Kg. G.W; 0,3 Kg. Unit Size; 1 x 1 x 0,3 Cm. Packing Size; 18 x 18 x 1 Cm. | 50 | Unit |  |  |
| 6 | Pemasangan lampu taman gantung kaligrafi lafal Laa Ilaaha Illallah Gambar : | LED Strip Water Proof (A1) G DC 50 W1 (15-418) Part Number; 15-418. Model; G DC 50 W1. Led Color; White. Led Type; SMD 5050. Led Qty per Meter; 60 Pcs. Led Qty per Cutting; 3 Pcs. Length per Roll; 50 Mtr. Cutting Length; 5 Cm. Input Voltage; 12 Vdc. IP Rating; IP 64. Power; 13,6 Watt / Mtr. N.G; 0,26 Kg. G.W; 0,3 Kg. Unit Size; 1 x 1 x 0,3 Cm. Packing Size; 18 x 18 x 1 Cm. | 5 | Unit |  |  |
| 7 | Lampu Bintang Langit-langit balkon teras Gambar : | Lampu Bintang LED Star Curtain RGBW [42-540] Part Number; 42-540. Model; LED Star Curtain RGBW. Lamp; SMD LEDs. LED Type; 5mm. LED Qty; 120pcs. Channel; 8ch. Power Consumption; 30W / 150W. Voltage; 220-240V AC ; 50H/60Hz. Control System; DMX / Sound Active / Auto Run. Size; H=2m ; W=3M. Weight; 7 Kg. | 4 | Unit |  |  |
| 8 | Pemasangan Lampu Tirai Fiber optic Gambar : | Lampu Tirai F.O Thread Lite 2100-100-RS 150 MHR Code type; : 43-001. Model; : F.O Thread Lite 2100-100-RS 150 MHR. Lamp; : HID 150W. Fiber qty; : 100pcs. Fiber length; : 4m @50pcs : 6m @50pcs. | 1 | Set |  |  |
| 9 | Pemasangan Lampu Pohon Gambar : | Lampu Pohon (A1) Flexi Star LED White [15-174] Code Type; : 15-174. Model; : Flexi Star LED SYK 100 White. Color; : White. Power Consumption; : 7W. Voltage; : 220V. Total Length; : 10m. LED Qty; : 100pcs. Remaks; : Running. | 50 | Set |  |  |
| 10 | Sistem Smart Light Manajemen | Homio Smart Light Manajemen | 1 | Set |  |  |
| Total |  |  |  |  |  |  |
| PPN 10% |  |  |  |  |  |  |
| Total + PPN 10% |  |  |  |  |  |  |
| Terbilang : |  |  |  |  |  |  |

Pejabat Pembuat Komitmen,

Dr. H. Sugeng Listyo Prabowo, M.Pd

NIP. 19690526 200003 1 003