KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Nomor 		: Un.03/KS.01.7/2703/2017						                                27 Juli 2017

Lampiran 	: 1 (satu) bendel

Perihal 		: Permintaan Informasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,.

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Belanja Modal Peralatan dan Mesin Prodi Pendidikan Dokter UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2017, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari		: Rabu

Tanggal		:  02 Agustus 2017

Pukul		: 09.00 WIB

Tempat                  : Kantor Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Surat tentang informasi harga barang tersebut, ditujukan:

Kepada Yth:

Pejabat Pembuat Komitmen FKIK

Universitas Islam Negeri Maulana Malik Ibrahim Malang

Jalan Gajayana No. 50 Malang

Adapun informasi harga tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.id atau ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002

Lampiran	:

Surat Permintaan Informasi Harga Barang

Nomor       : Un.03/KS.01.7/2703/2017

Tanggal 	: 27 Juli 2017

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: Belanja Modal Peralatan dan Mesin Prodi Pendidikan Dokter

Lokasi		: Fakultas Kedokteran Dan Ilmu-Ilmu Kesehatan

Tahun Anggaran 	: 2017

| No | Nama Barang | Spesifikasi | Volume |  |  | Harga (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sarana Prasarana Laboratorium Anatomi |  |  |  |  |  |  |  |
| 1. | Meja kadaver | This embalming table is constructed of a stainless steel top with a convex surface, stainless steel frame and 6” ball-bearing wheel. The swivel wheels lock to keep the table stationary while in use. The drain, located in the center of the foot end, quickly eliminates fluid from the table. It can stand on one end for storage behind a door or in a closet when not in use. | 2 | unit |  |  |  |
| 2. | Minor set | Tiap Set terdiri dari : - Thumb Dressing Forcep 14 cm : 1pcs - Tissue Forcep (12 Teeth) : 1 pcs - Standard Operating Scissor STR-Sh/BI 14 cm : 1 pcs - Knapp Vascular Scissor One Blade Pointed 11,5 cm : 1 pcs - Rochester Pean Haemostatic Forcep STR 14 cm : 2 pcs - Halsted Mosquito Haemostatic Forcep CVD 12,5 cm : 2 pcs - Mayo Hegar Handle Holder 14 cm : 1 pcs - Scalpel Handle No. 3 : 1 pcs - Mini-Langenbeck Retractor : 1 pcs - Needle Case (50x30x6 mm) : 1 pcs - Case for Scalpel Blades : 1 pcs - Case Instruments : 1 pcs - Box Packing : 1 pcs | 5 | set |  |  |  |
|  | Rak Besi PxT (100-200 cm) | Spesifikasi Ukuran: P x L x T ( 100Cm x 40 Cm x 200Cm ) Sistem baut / Knock Down Tebal ambalan 0,75 mm Tebal tiang / besi siku 2 mm Kapasitas 100 kg Termasuk karet kaki | 6 | unit |  |  |  |
| 3. | Penyangga buku dengan tripod | Spesifikasi : Mekanisme tiga bagian memungkinkan untuk posisi yang lebih rendah Berlubang Meja Folding dengan halaman pengikut Frictioning EZ Angle Roller Quik-N-EZ Retainer Quik-N-EZ Penyesuaian Tinggi Grip Tripod Basis terbuat dari tahan lama aluminium die cast Ukuran meja: 480 mm x 345 mm (18,9 "x 13,6") Tinggi: 610 mm - 1.150 mm (24 "- 45.3") Berat: 3.15 kg (6,9 lbs.) radius dasar: 345 mm (13,6 ") Kapasitas beban: 5 kg (11 lbs.) Ukuran dilipat: 680 mm x 130 mm x 215 mm (26,7 "x 5,1" x 8,5 ") | 5 | unit |  |  |  |
| 4. | Sentrifuge | Brand : Thermo Scientific, Designed in Germany Manufacture in China (Under Thermo Scientific ISO and Requirements) Model : SL8, Ventilated, 230 V, 50/60 Hz; 75007221 Swing Bucket Rotors Max Capacity 4 x 145 mL (with TX-150 rotor) Max Speed 4,500 rpm (with TX-150 rotor) Min Speed 300 rpm (with TX-150 rotor) Max RCF 3,260 x g (with TX-150 rotor) Fixed Angle Rotors Max Capacity 6 x 50 mL (with HIGHConic rotor) Max Speed 16,000 rpm (with MicroClick 24 rotor) Min Speed 300 rpm (with MicroClick 24 rotor) Max RCF 24,328 x g (with MicroClick 24 rotor) Control System : Microprocessor Drive System : Direct, brushless induction drive Rotor Locking System : Auto-Lock rotor exchange Imbalance Detection System : Continuous vibration measurement, with rotor mass correction Programs 4 direct program buttons, with alphanumeric program naming Pulse (Short) Run : Yes Acceleration/ Deceleration Rates 2 : (standard and soft) Centrifugation Chamber : Brushed stainless steel Max Timer Range : 99h 59min, continuous Sound Level : <58 dBA (with TX-150 rotor); <61 dBA (with MicroClick 24 rotor) Other Features : Certified1 ClickSeal biocontainment lids Multilingual selection: English, Dutch, French, German, Italian, Russian and Spanish Max Power Consumption : 310 W Dimensions WDH (Lid closed) : 37 x 48 x 31 cm; H (Lid Open) : 67 cm Weight : 35 kg Standards & Certifications Standards : IEC 61010-1, IEC 61010-2-020, IEC 61010-2-101, EN 61326-1 Certifications : UL Listed / CE marked / IVD compliant / Certified biocontainment Include : High Capacity Cell Culture Rotor Package, including : Swinging Bucket Rotor, 90°, Rmax 144 mm 50ml conical buckets; Capacity : 8 x 50 ml Adapters for 15ml conical tubes (4pk); Capacity : 8 x 15 ml Round Buckets (set of 4) ClickSeal Biocontainment Lids for Round Buckets (set of 4) Adapters for 10 mL Blood Collection Tube (set of 4); Capacity : 16 x 10 ml | 1 | Paket |  |  |  |
| 5. | Vortex | Brand : IKA, Germany Manufacture for Asia Pasific in Malaysia (under IKA Germany Licence) Model : VORTEX 3; # 3340000 Type of movement : orbital Shaker diameter : 4 mm Motor rating input : 58 W Motor rating output : 10 W Permissible ON time : 100 % Speed min (adjustable) : 500 rpm Speed range : 0 - 2500 rpm Speed display : none Timer : no Operating mode : continuous operation Touch function : yes Shaking table lock : no Working with microtiter plates : yes Number of microtiter plates : 1 Dimensions (W x H x D) : 127 x 136 x 149 mm Weight : 4.5 kg Permissible ambient temperature : 5 - 40 °C Permissible relative humidity : 80 % Protection class according to DIN EN 60529 : IP 21 RS 232 interface : no Analog output : no Voltage : 200 - 240 / 115 / 100 V Frequency : 50/60 Hz Power input : 60 W | 1 | Paket |  |  |  |
| Sarana Prasarana Laboratorium Histologi-Patologi Anatomi |  |  |  |  |  |  |  |
| 6. | Kursi Dingklik | Kursi dingklik - Bahan Kayu Jati, - Finishing: Natural - Standard Konstruksi Jepara - Ukuran sbb: Diameter 30cm, Tinggi 45 | 50 | buah |  |  |  |
| Sarana Prasarana Laboratorium Fisiologi-Farmakologi |  |  |  |  |  |  |  |
| 7. | Laboratory Oven | Brand : Memmert, Germany Model : UN110 Temperature Set temperature range in °C : min. 5°C above ambient up to +300°C resolution of display for setpoint values 0.1°C up to 99.9°C, 0.5°C from 100°C and for actual values 0.1°C (LED) Control of standard components Temperature : 1 Pt100 sensor DIN class A in 4-wire-circuit ControlCOCKPIT : adaptive multifunctional digital PID-microprocessor controller with high-definition TFT-colour display Control technology Timer : Digital backwards counter with target time setting, adjustable from 1 minute to 99 days Function SetpointWAIT : the process time does not start until the set temperature is reached Calibration : three freely selectable temperature values Language setting : German/English/Spanish/French adjustable parameters : temperature (Celsius or Fahrenheit), air flap position, programme time, time zones, summertime/wintertime Ventilation natural convection Fresh air admixture : adjustment of pre-heated fresh air admixture by air flap control in 10 % steps Vent : vent connection with restrictor flap Communication Documentation : programme stored in case of power failure Programming : AtmoCONTROL software for reading out, managing and organising the data logger via Ethernet interface (temporary trial version can be downloaded). USB stick with AtmoCONTROL software available as accessory (on demand). Safety Temperature control : adjustable electronic overtemperature monitor and mechanical temperature limiter TB, protection class 1 according to DIN 12880 to switch off the heating approx. 20°C above nominal temperature Autodiagnostic system : for fault analysis Standard equipment Scope of delivery : incl. works calibration certificate for +160°C Door : fully insulated stainless steel door with 2-point locking (compression door lock) Interior : easy-to-clean interior,made of stainless steel,reinforced by deep drawn ribbing with integrated and protected large-area heating on four sides Internals : 2 stainless steel grids Stainless steel interior Max. loading of chamber: 175 kg Dimensions WHD in mm : w(A) x h(B) x d(C): 560 x 480 x 400 mm Volume : 108 L Textured stainless steel casing Housing : rear zinc-plated steel Dimensions : w(D) x h(E) x d(F): 745 x 864 x 584 mm Electrical data Voltage Electrical load : 230 V, 50/60 Hz approx. 2800 W | 1 | unit |  |  |  |
| 8. | Vortex mixer | Type of movement : orbital Shaker diameter : 4.5 mm Permissible shaking weight (incl. attachment) : 0.5 kg Motor rating input : 10 W Motor rating output: 8 W Permissible ON time: 100 % Speed min (adjustable): 200 rpm Speed range : 0 - 3000 rpm Speed display : scale Timer : yes Timer display : 7 segment LED Time setting range : 1/60 - 999 min Operating mode : timer and continuous operation Touch function : yes Shaking table lock : no Working with microtiter plates : yes Dimensions WHD : 148 x 63 x 205 mm Weight : 2.9 kg Permissible ambient temperature : 5 - 40 °C Permissible relative moisture : 80 % Protection class according to DIN EN 60529: IP 21 Voltage : 100 - 240 V; Frequency : 50/60 Hz Power input : 20 W; DC Voltage : 24 V= Current consumption : 800 mA Include : Microtiter attachment Standard attachment Universal attachment | 2 | unit |  |  |  |
| Sarana Prasarana Laboratorium Mikrobiologi-Parasitologi |  |  |  |  |  |  |  |
| 9. | Laboratory timer | Fisher Scientific™ Traceable™ Multi-Colored Timer Assorted bold colors for distinctive appearance. Fisher Scientific™ Traceable™ Multi-Colored Timer is supplied with 3 unique colorful frames, permitting personalization. Four separate timing channels, plus recall memory Times up to 99 hours, 59 minutes, 59 seconds Resolution: 1 second Accuracy is 0.01% Count-up/count-down/alarm/clock Easel bench stand and magnetic back Unique memory returns channel to previously programmed setting at the touch of a key | 5 | unit |  |  |  |
| 10. | Incubator shaker | Incu-Shaker™ Mini with non-slip rubber mat, 230V H1000-M-E Benchmark Scientific Temp. Range (H): Ambient +1°C to 60°C Speed: Variable, 30 to 300 rpm Orbit: 19mm/ 3-4 in. Temp. Range: Ambient +5 to70°C Temp. Increment: 0.1°C Temp. Accuracy: ± 0.1°C Temp. Uniformity: ± 0.25°C Speed Increment: 1 rpm Platform Dimensions: 9.5 x 11.5 in/23.5 x 29 cm Operating Temp. Range : +4 to + 65°C Universal Spring Platform for Unique Vessel | 1 | unit |  |  |  |
| 11. | Automatic colony counter | Program specifications : Counts up to 7 different colors on the same plate Automatically adapts to all kind of agar (chromogenic…) Read Spiral®, spread and pour plates and inhibition zones 6 combinations of lighting and background color: - lighting (upper and/or lower) - sliding background (white or black) User friendly software : press one button to count One cursor to optimize counting One window access to all functions Polygonal exclusion areas Minimum size of detected colony : < 0.1 mm Automatic separation of clustered colonies Clear and precise vizualisation of detected colonies: their center is marked with the cross Zoom on the image function : X7 All recorded data is saved and automatically transferrable to : Excel, PDF, JPG, BMP. Connectable to LIMS IQ, OQ, PQ, in compliance CFR21 part 11 ISO 9001-2000, CE Technical specifications : Lighting with long-life LEDs, Darkfield technology Firewire CMOS color camera (640 x 480 pixels) Software compatible Windows 8, 7, Vista Multi-lingual software : English, French, Russian, Japanese, Chinese, Spanish Possibility of LIMS and barcode connection Stainless steel, compact (24 cm width) Dimensions of unit : 25 x 24 x 25 cm, 6.6 Kg Dimensions of box : 40 x 40 x 50, 10 Kg Delivered with one unit : Firewire PCI card, PCI express card adapter Expresscard, 6/4 pins adapters CD Rom Software Connecting cables User's manual 2 validation plates Include : USB connector CD Rom Software Connecting cables User's manual 3 validation plates Adapter for 55 mm plates; to center 55 mm plates under the camera Personal Computer | 1 | unit |  |  |  |
| Sarana Prasarana Laboratorium Biokimia-Patologi klinik |  |  |  |  |  |  |  |
| 12. | Ph meter elektrik | Digital PH Meter Brand : Lovibond Tintometer, Germany Model : SensoDirect pH110; 721300 Display : LCD, 21.5 mm (0.7“) digit height Measurement Range : 0 - 14 pH Resolution : 0.01 pH Accuracy : ± 0.07 pH (pH 5 - pH 9) ± 0.1 pH (pH 4 - pH 10) ± 0.2 pH (pH 1 - pH 3.9, pH 10.1 - pH 13) Main instrument only 23 ± 5°C, after calibration Input Impedance : 1012 Ohms Temperature Compensation : No adjustment Sample Time : Approx. 0.4 seconds Operating Temperature : 0 - 50°C (32 - 122°F) Operating Humidity : Maximum 80% relative humidity Calibration : External, pH 4.0 (slope adjustment) & pH 7.0 (Cal. adjustment) Power Supply : 006P DC 9V battery Power Consumption : Approx. 2.0 mA Dimension : 208 x 110 x 34 mm (L x W x H) Weight : Approx. 380 g pH electrode : pH plastic type, gel electrolyte with BNC Connector include : pH-buffer (4.0 / 7.0) | 1 | unit |  |  |  |
| 13. | Blood analyzer | Automated Hematology Analyzer XP-Series XP-100 Analysis Principle WBC : DC detection method RBC/PLT: DC detection method HGB: Non-cyanide haemoglobin analysis method Parameters Whole blood mode, pre-diluted mode WBC, RBC, HGB, HCI MCY MCH, MCHC,PLT LYM%, MXD%, NEUT%, LYM#, MXD#, NEUT* RDW-SD, RDW-CV, PDW*, MPV PCI P-LCR* Throughput Approx. 60 samples per hour SampleVolume WB mode Approx.50pL PD mode Approx.2opt Sample lD. Up to 15 characters Quality Control Eightcheck-3wP (Low, Normal, High) Material Quality Control 60 plots r 6 fila. CalibratorMate.ial scs-]o00 Dimension Main unit:420 x 355 x 480 mm (WxDxH) Weight Approx.3o kg Data Storage XP-IOo Up to 35,000 with histogram Printer Built-in Thermal Printer lnterfaces LAN (Ethernet for host computer) Bar code reader (Handheld) Serial port (for host computer/RS 232 C) Graphic Printer (option) LAN (SNCS service)** | 1 | unit |  |  |  |
| Sarana Prasarana Laboratorium Biologi Sel dan molekuler |  |  |  |  |  |  |  |
| 14. | Perangkat elektroforesis horizontal | Horizontal Electrophoresis Mini-Sub® Cell GT Horizontal Electrophoresis System and PowerPac™ Basic Power Supply Includes : Sub Cell unit Casting gates two 1.5 mm fixed-height combs (8- & 15-well), UV-transparent gel tray (7 x 10 cm), mini gel caster and PowerPac Basic power supply Specifications : Gel Size (width x Length) : 7 x 10 cm Sample Throughput : 8 - 30 Base Buffer Volume : 0.27 L Cell Size (L x W x H) : 26 x 12 x 6.5 cm Distance to Electrode : 14.5 cm Bromphenol Blue (Dye) : 4.5 cm/hour Migration Rates : @ 75 V PowerPac Basic Power Supply Output range : 10 - 300 V in 1 V steps (Programmable) 4 - 400 mA in 1 mA steps 75 W maximum Type of output : Constant voltage or constant current with automatic crossover Output terminals : 4 recessed sets in parallel Timer : 1 - 999 minutes Regulatory certification : IEC 1010-1,CE Safety features : No-load detection sudden load change detection | 1 | unit |  |  |  |
| 15. | Aqua destilator | Brand : Evoqua, Germany Model : Labostar PRO TWF UV; W3T324338 Produce ultrapure water straight from your drinking water supply The water quality exceeds all relevant standards including ASTM Type I, CLSI and ISO 3696 Type I A conductivity sensor constantly measures the product water purity in the recirculation loop A positively charged 0.2 μm sterile filter at the dispenser removes bacteria and endotoxins, eliminating the need for an expensive ultra-filter Type III water specifications : Flow rate @ 25°C : 9 l/h Flow rate @ 20°C : 8 l/h Flow rate @ 15°C : 7 l/h Rejection rate for ions : 98 max % Rejection rate for bacteria : >99 % Rejection rate for particles : >99 % Type I water specifications : Output up to : 1,2 l/min Conductivity @ 25°C : 0,055 μS/cm Resistivity @ 25°C : 18,2 MΩ-cm TOC : 1-5 ppb Bacteria : <1 cfu/ml Endotoxins : <0,001 EU/ml Particles > 0.2 μm : <1 per ml Feed water specifications : Pressure : 3-5 bar Conductivity : <1400 μS/cm Colloid Index : <3 SDI Free Chlorine : <0,5 mg/l Fe : <0,1 mg/l CO2 max. : 15 mg/l Water temperature : 5-30°C Ambient temperature : 5-35°C Connections Raw water : 5/16” push-in / flex tube R = Pure water : ¼” push-in / flex tube d = Drain concentrate : 3/8” push-in / flex tube d = Power requirements Power consumption : 270 W Power supply : 100-240V/ 50-60Hz Dimensions Height : 535 mm Width : 400 mm Depth : 520 mm Include : Pretreatment | 1 | unit |  |  |  |
| Sarana Prasarana Laboratorium Kedokteran dan Komunitas |  |  |  |  |  |  |  |
| 16. | Refrigerator 2 pintu | Lemari Es 2 Pintu dengan kapasitas 225 L LED Lighting, Moist Balance Crisper & Multi Air Flow Big Size Veggie Box Tempered Glass 225 L Deskripsi Produk : LED Lighting Pull-out Tray Moist Balance Crisper and Multi Air Flow "Big Size Veggie Box : Extended Veggie Box provides 28L of storage space. " Dimension 555 x 1520 x 585mm Ada di Dalam Kotak : Lemari Es LG GN-B252SLCL, 1 Kartu Garansi dan 1 Buku Petunjuk | 2 | unit |  |  |  |
| NL | Sarana Prasarana Laboratorium Keterampilan klinis |  |  |  |  |  |  |
| 19. | Wastavel portabel | Wastafel portable : Bahan multipleks, ukuran 70 cm x 60 cm x 100 cm Permukaan dilapisi melaminto Sink stainless steel | 12 | unit |  |  |  |
| NM | Layanan Administrasi dan Perkuliahan |  |  |  |  |  |  |
|  | Printer dotmatrix | EPSON Printer [LX-310] Printing Method Impact dot matrix Pixel Resolutions Max. 9 pin, 160 columns max, up to 240 x 216 dpi Print Speed Black High Speed Draft10/12/15 cpi : 347 / 357 cps High Speed Draft Condensed17/20 cpi : 383 / 298 cps Draft10/12/15 cpi : 260 / 312 / 223 cps Draft Condensed17/20 cpi : 222 / 260 cps Draft Emphasized10 cpi : 130 cps NLQ10/12/15/17/20 cpi : 65 / 78 / 55 / 47 / 56 cps Antarmuka / Interface USB 2.0 Full-Speed Bi-directional parallel interface (IEEE-1284 nibble mode supported) Ink Catridge Black Fabric Ribbon Cartridge (Black) O/S Compatibility Microsoft® Windows® 2000 / XP / 7, Microsoft® Windows Vista® Ukuran Kertas Cut Sheet (Single Sheet) Length : 100 - 364mm Width : 100 - 257mm | 3 | Unit |  |  |  |
|  | Digital camcorder | Panasonic camcorder HC-V785 Spesifikasi : - 12.76 megapixels - 1/2.3-inch BSI MOS Sensor - F1.8 (Wide) / F3.6 (Tele) - 20x Optical Zoom - 5 Axis Hybrid OIS+ - Full HD - Slow Motion Movie - 3.0-inch Wide LCD monitor - AV - HDMI - Microphone - Headphone - USB 2.0 - SD/SDHC/SDXC Memory Card - 65 x 73 x 139 mm - 32 GB Memory Card - Tas kamera | 1 | Unit |  |  |  |
|  | Tripod | Manfrotto tripod COMPACT Action Spesifikasi : Round shaped new design quick release plate The newly designed Quick Release Plate that can be worn by hand can quickly mount the camera A compact body that can be selected from three colors achieves maximum load capacity of 1.5 kg 5 steps / total stretching height 155 cm / elongation 133 cm / storage height 45.3 cm / self weight 1.16 kg / maximum load capacity 1.5 kg. | 1 | Unit |  |  |  |
|  | Telepon wireless | PANASONIC KX-TGC 212 - Telepon / Telephone Wireless Cordless Panasonic Cordless Wireless Phone KX-TGC212 Silver Telepon merupakan telepon dengan performa yang sangat baik. Telepon tanpa kabel yang Anda dapat digunakan pada perkantoran ataupun di rumah untuk keperluan pribadi. Telepon ini didesign minimalis dengan speakerphone ,120 names & number phone book , clock, alarm & keylock cocok untuk menemani bisnis anda. Display and Keypad 1.6" Display Backlight colour : Amber Illuminated keypad Easy to Use Handset Call Management Nuisance Call Blocking: 50 numbers Anonymous Call Blocking Do Not Disturb Caller ID Caller ID Memory: 50 stations Call Share Conference Call with outside Line Intercom (Handset to Handset) Any Key Answer Mute (Soft key) Redial Memory: 10 Handset Features Date & time display Alarm Clock Key Lock Name and caller ID Call log entries : 50 Phonebook : 50 names and numbers Base functions & other facts: Eco Mode GAP Compatible Standby time : Up to 170 hours Talk time : Up to 20 hours 2 Handsets Garansi resmi 2 Tahun | 10 | Unit |  |  |  |
|  | Dispenser | DISPENSER ELECTRIC Spesifikasi : Refrigerant R-134a/23g Rate Current 2.5A TEMPERATURE Hot 80 - 92 Celcius Cold 3 - 10 Celcius POWER CONSUMPTION Max Input 485 Watt Heater 185 or 385 Watt Max Cooling 100 Watt Dimension 320 x 380 x 1028 mm Weight 15.6 kg | 5 | Unit |  |  |  |
|  | DJI Mavic Pro Fly More Combo Camera Drone with Remote Controller | Spesifikasi : Brand : DJI Format : RecordJPEG, DNG, MPEG-4 AVC, H.264 Bahasa : - Sensor : CMOS Lensa : 35mm Format Equivalent f/2.2 Pixel : 12.35 MP Berat : 743g Interface : APP / Live View, Remote Controller Optical Zoom : - Sumber Daya : LiPo 3s Battery Lain-lain : Ekstra Fly More Combo : Battery Charging HUB Battery To Power Bank Adaptor 2 pcs Intelligent Flight battery Car Charger 4 pcs Folding Propellers DJI Shoulder Bag Digital Zoom :- Wireless : Ada Pelindung Lensa : Ya Dimensi Produk : 83mm x 83mm x 198mmLCD-Konsumsi Daya : 43.6 Wh Isi dalam box : DJI Mavic Pro Aircraft - Remote Controller - 4 pcs Propeller Pair - Charger - Power Cable - Micro USB - 2 pcs RC Cable - Manuals Ekstra Fly More Combo : - Battery Charging HUB - Battery To Power Bank Adaptor - 2 pcs Intelligent Flight battery - Car Charger - 4 pcs Folding Propellers - DJI Shoulder Bag Fitur : - Memiliki ukuran yang compact dan ringkas - Jarak Terbang +/- 7 Km - Kamera Drone 12 MP Gimbal Stabilized - Bisa merekam Video 4K - Durasi Terbang maksimum 27 menit - Fitur : ActiveTrack, TapFly dan fitur pintar lainnya - FlightAutonomy dengan Obstacle Detection (mampu menghindari rintangan secara otomatis) - GPS dan Vision Position Based Navigation | 1 | Unit |  |  |  |
| Jumlah |  |  |  |  |  |  |  |

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002