KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Nomor 		: Un.03/KS.01.7/3031/2017						21 Agustus 2017

Lampiran 	: 1 (satu) bendel

Perihal 		: Permintaan Informasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,.

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Sarana Prasrana Laboratorium Biologi Farmasi UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2017, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini untuk data dukung survey pembuatan HPS (Harga Perkiraan Sendiri) Lelang Pengadaan Peralatan dan Mesin Lab. Biologi Farmasi.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari		: Selasa

Tanggal		: 05 September 2017

Pukul		: 10.00 WIB

Tempat	: Kantor Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Surat tentang informasi harga barang tersebut, ditujukan:

Kepada Yth:

Pejabat Pembuat Komitmen FKIK

Universitas Islam Negeri Maulana Malik Ibrahim Malang

Jalan Gajayana No. 50 Malang

Adapun informasi harga tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.idatau ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002

Lampiran	:

Surat Permintaan Informasi Harga Barang

Nomor       : Un.03/KS.01.7/3031/2017

Tanggal 	: 21 Agustus 2017

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: Pengadaan Sarana Prasarana Laboratorium Biologi Farmasi

Lokasi		: Fakultas Kedokteran Dan Ilmu-Ilmu Kesehatan

Tahun Anggaran 	: 2017

| No | Nama Barang, Spesifikasi dan Gambar | Volume |  | Harga (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- |
| 1. | ROTARY EVAPORATOR HEIDOLPH Hei- VAP Precision Motor Lift G3 Vertical Most demanding applications and the finest integrated vacuum control capacities Merk : HEIDOLPH-Germany CAT : 564-01300-00 Experience the advantages of our large digital 4.3” color graphic display which features all parameter, integrated vacuum controlled and includes program for automated distillations. Make your life easier by utilizing the integrated software support which leads you through the capacities of the evaporator. For data management Hei-Vap Precision models feature a USB interface Technical Specifications – Rotary Evaporator Hand/Motor Lift : Motor lift Height adjustment : 155 mm Rotation speed : 20-280 rpm Rotation speed setting : 4.3” LCD color graphic display Drive : Brushless DC motor with electronic speed control Heating capacity : 1.300 W Temp. range heating bath : 20 -210 °C Temp. accuracy bath : ± 1 °C Overheat protection bath : Cut-off at 5 °C over set temperature via separate PT 1000 Bath temp. setting : 4.3” LCD color graphic display Heating bath temp. control : Electronic/digital Secondary overtemp. Cut-off : 250 °C Material heating bath : Stainless steel AISI 316 L Diameter heating bath : 255 mm Volume heating bath : 4.5 L Display vapor temperature : Yes Required accessories : Vapor temperature sensor Remote control function - Lift : Yes - Start rotation : Yes - Start Vacuum : Yes - Start heating bath : Yes Supply power : 1.400 W Wight (w/o glass assembly) : 17 Kg Size (l x w x h) : 395 x 490 x 430 (mm) Protection glass (DIN EN 60529) : IP 20 Operation conditions : 0 - 40° at 80% rel. humidity Rate of evaporation - Toluene : 8.5 - Acetone : 5.8 - Ethanol : 3.5 - Water : 1.2 Condensing surface : 1.200 cm2 Supply voltage : 230/50/60 115/60 Complete with : 591-35000-00-1 Tube set 569-00040-00 Auto Accurate Sensor 569-00060-00 Vacuum valve Rotavac Valve TEC Merk : Heidolph-Germany CAT. : 591-00160-00 Two-stage diaphragm pump made from chemically resistant materials Suction capacity of 0.75 m3/h The rotavac valve tec achieves an ultimate vacuum of 12 mbar The rotavac valve tec can be combined with a condenser input : 80 W Weight : 6 kg Dimensions : 315 x 145 x 169 (L x W x H/mm) Complete with : 569-00070-00 Woulff bottle with bracket Water circulator type RA 8 Merk : Lauda-Germany Cat no : LCK 1907 3 keys operation with large and brillant LED display Automatic compressor control supplies strong cooling output up to 425 W only when needed Easy to remove front panel via handsholds A drain connection of the rear side of the devices makes emptying a simple job Technical Data : - Working temp. range : -25 . . . 100°C - Temp. stability 20°C : 0.05 ±K - Heater power : 1.5 kW - Cooling output @ 20°C : 0.225 kW - Bath volume : 5 . . . 7.5 L - Bath Opening / Bath Depth : 165 x 177 / 160 mm Meja (w x d x h) : 120 x 60 x 76 cm | 1 | Unit | …………… | …………… |
| 2. | TLC PLATE HEATER, MERK: CAMAG The TLC Plate Heater III is designed for heating TLC plates to a given temperature, while ensuring homogenous heating across the plate. The TLC Plate Heater III has a CERAN heating surface which is resistant to all common reagents and is easily cleaned. The 20 x 20 cm heating surface has a grid to facilitate correct positioning of the TLC plate. Programmed and actual temperature are digitally displayed. The temperature is selectable between 25 and 200 C. The plate heater is protected from overheating. | 1 | Unit | …………… | …………… |
| 3. | TLC CHAMBER, MERK: CAMAG Twin Trough Chamber for 10 x 10 cm plates, with stainless steel lid | 2 | Unit | …………… | …………… |
| 4. | TLC VISUALIZER 2, BRAND: CAMAG CAT: 022.9810. Reproducible high-quality images acquired under homogenous illumination with the selected light . Easy and intuitive operation with visionCATS . High-dynamic-range imaging (HDRI) . Side by side comparison of tracks originating from the same or different plates and/or different illumination modes . Various image enhancement tools. e.g. "Spot Amplification". "Clean Plate Correction" and "Exposure Normalization" . Image-based profile generation from reference and sample tracks, and subsequent peak integration and calibration . New digital CCD camera with a maximum resolution of 82 µm on the plate . USB 3.0 for easy PC connection . Meets all requirements to be used in a cGMP/cGLP environment . IQ/OQ qualification and 21 CFR Part 11 ready Technical specifications Dimensions and weight Width: 480 mm, depth: 537 mm, height: 596 mm Net weight: 17.0 kg Object size supported With l2 mm lens: up to 20 x 20 cm Light sources 2 x UV tube long wavelength (366 nm) - direct light 2 x white light tube - direct light 2 x white light tube - transmitted light Camera type Digital CCD camera, sensor "SONY Super HAD CCD”, HDR Camera exposure time : 2-3 ms to l0 s, up to 60 s for HDRI, min. step size 1 µs Connection : USB 3.0 and RS 232 Main Voltage : 100 - 240 V, 50/60 Hz, 50 W Software for instrument control : visionCATS (2.3 or higher) on MS Windows 7 Include : Waranty card Installation Operating Manual in English CAMAG®HPTLC Software visionCATS Basic Version Brand : CAMAG CAT : 028.0000 Including access and control of all instruments - 1 server. 1 client lnstrument Diagnostics (xQ), analytical reports - access to method library. Needs to be bought separately and is not included in any Ultimate Package CAMAG®HPTLC Software visionCATS visionCATS Ultimate Brand : CAMAG CAT : 028.1000 Combining all CAMAG Visualizer and CAMAG Scanner Packages, including: Visualizer High-Resolution Documentation Package (028.2100), Scanner Multi Wavelength Package (028.3100). Spectrum Scanning Package (028.3200) & Scanner Quantification Package ( 023.3300 ). CAMAG TLC Software visionCATS Basic Version (028.0000) needs to be purchased separately. PC HP 280 G3 MT IRY23PA --- New Intel Corel5-7500 (3,4 GHz) 4GB DDR4-2133 (l x 4GB) RAM , I TB 7200 Rpm SATA, super multi DVDRW intel HD Graphics 630 ,HP USB Keyboard and Mouse, Parallel & Serial Port, 6 in I Media Card Reader, LED Monitor 18"5 inch Printer Epson L120 UPS REILLO/APC 2kva Type 902ws Meja (w x d x h) : 120 x 60 x 76 cm | 1 | Unit | …………… | …………… |
| 5. | smartCUT, MERK: CAMAG For exact cutting of TLC/HPTLC plates. For method development, screening tasks, pre-tests etc. often small formats of precoated layers are used. CAMAG smartCUT allows cutting TLC and HPTLC plates into defined pieces. Plates with a thickness up to 3 mm can be cut easily and precisely. smartCUT does not damage the sensitive layer. Easy handling - the required size can be read directly from the scale. Helps saving costs on precoated plates of high quality by preventing offcuts. | 1 | Unit | …………… | …………… |
| 6. | ULTRASONIC CLEANER, MERK: SONICA Sweep system oscilator module, microprocessor circuit base for degassing, heating, and ultrasonics, stainless steel with special surface treatment, waterproof membrane keyboard with Ied display, sturdy handles, Tank dimension 500x300x200 mm, external dimension 600x330x410 mm, capacity 28 Liter, frequency 40 KHz, US peak power 1000 W, power heating 1000 W, stainless steel holder basket | 1 | Unit | …………… | …………… |
| 7. | BLENDER Merk PHILIPS HR-2874 Bahan rangka : Plastik ABS Bahan pisau : Baja antikarat Bahan botol : SAN Warna : abu-abu dan putih Daya : 350 watt Frekuensi : 50/60 Hz Kapasitas tabung blender : 0,6 liter Kapasitas pencacah mini : 350 ml Kapasitas botol : 0,6 liter Voltase : 220-240 volt Setelan kecepatan : 1 Tempat penyimpanan kabel : ada Pisau bisa dilepas : iya Filter : ada Perajang mini : ada Botol minuman : ada | 1 | Unit | …………… | …………… |
| 8. | ROTOR MILL / GRINDER Full stainless steel structure, very durable, speed ± 24000 rpm, capacity > 100 g sample, grinding results : 60-200 mesh, voltage: 110/220V, 50/60Hz, watts: 400 watts, working chamber size: ID100mm, Depth 100mm, 750ml, dimensions: ф140×290 mm, product Weight: 3.5 kg | 1 | Unit | …………… | …………… |
| 9. | OVEN, MERK: MEMMERT Set temperature range in °C : min. 5°C above ambient up to +80°C Setting accuracy temperature : 0.1°C Temperature : 2 Pt100 sensors Class A in 4-wire-circuit, mutually monitoring and taking over the performance at the same temperature value Door : fully insulated stainless steel door with 2-point locking (compression door lock) Internals : 2 stainless steel grids Dimensions : w(D) x h(E) x d(F): 745 x 864 x 584 mm Housing Voltage Electrical load approx. 2800 W Voltage Electrical load approx. 1800 W Interior : nearly gas-tight interior Interior : easy-to-clean interior,made of stainless steel, reinforced by deep drawn ribbing with integrated and protected large-area heating on four sides Volume : 108 L Dimensions W x H x D in mm : w(A) x h(B) x d(C): 560 x 480 x 400 mm Max. number of grids/shelves : 5 Max. loading of chamber Max. loading per grid/shelf : 20 kg ControlCOCKPIT Language setting : German, English, Spanish, French, Polish, Czech, Hungarian Timer Function HeatBALANCE : adapting the distribution of the heating performance of the upper and lower heating circuit from -50 % to +50 % Function SetpointWAIT : the process time does not start until the set temperature is reached Calibration : three freely selectable temperature values Adjustable parameters Temperature control : mechanical temperature limiter TB, protection class 1 according to DIN 12880 to switch off the heating approx. 20°C above nominal temperature Temperature control : overtemperature monitor TWW, protection class 3.1 or adjustable temperature limiter TWB, protection class 2, selectable on display | 1 | Unit | …………… | …………… |
| Jumlah |  |  |  |  | …………… |  |
| Terbilang : |  |  |  |  |  |  |

NB : *) harga sudah termasuk pajak

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002