KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Nomor 		: Un.03/KS.01.7/3029/2017						21 Agustus 2017

Lampiran 	: 1 (satu) bendel

Perihal 		: Permintaan Informasi Harga

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,.

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Sarana Prasarana Lab. Kimia Analisis dan Analisis Instrumen UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2017, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini untuk data dukung survey pembuatan HPS (Harga Perkiraan Sendiri) Lelang Pengadaan Peralatan dan Mesin Lab. Kimia Analisis dan Analisis Instrumen.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari		: Selasa

Tanggal		: 05 September 2017

Pukul		: 10.00 WIB

Tempat	: Kantor Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Surat tentang informasi harga barang tersebut, ditujukan:

Kepada Yth:

Pejabat Pembuat Komitmen FKIK

Universitas Islam Negeri Maulana Malik Ibrahim Malang

Jalan Gajayana No. 50 Malang

Adapun informasi harga tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.id atau ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002

Lampiran	:

Surat Permintaan Informasi Harga Barang

Nomor       : Un.03/KS.01.7/3029/2017

Tanggal 	: 21 Agustus 2017

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: Pengadaan Peralatan dan Mesin Lab. Kimia Analisis dan Analisis Instrumen

Lokasi		: Fakultas Kedokteran Dan Ilmu-Ilmu Kesehatan

Tahun Anggaran 	: 2017

| No | Nama Barang, Spesifikasi dan Gambar | Volume |  | Harga (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- |
| 1. | ANALYTICAL BALANCE MERK SHIMADZU ATX 224 Capacity : 220 g Minimum Display : 0.1 m Draftshield designed including 3 sliding door Application Modes: Weighing, parts counting (with APW optimization), percentage weighing Weighing units: g, mg, ct, oz, ozt, gn, dwt Repeatability (standard Deviation) : ≤ 0,1 mg Linearity : ±0,2 mg Response time : Approx. 3,0 second Operating Ambient Temperature : 5-40ºC, 20-85% Temperature Coefficient Sensitivity (ppm/C):±2 ppm/ ºC (no condensation) Pan Size (mm) Approx. : ɸ91 Main Body dimensions, WxDxH : 213 x 356 x 338 Weight (Kg) approx. : 6,0 - 6,2 Power Requirement : 12 V, 1 A Internal Calibration : yes UniBloc Analytical Balances | 2 | Unit | …………… | …………… |
| 2. | HOTPLATE WITH MAGNEETIC STIRRER This units features a digital display and allows for easy setting and monitoring value on the illuminated read out. For your protection, an independent safety circuit will switch off heating if hotplate temperature goes above 25ºC of set temperature. Digital speed setting from 100 to 1.400 rpm at an accuracy of 2% and temperature setting up to 300ºC. A separate on/off switch for heating prevents an unintentional heat up. If heating is switched on, the on/off button is illuminated for visual control. Upgrade this magnetic stirrer with the optional digital thermometer, that provides precise temperature control to give you temperature overshoot protection and reproducible results. Technical Specifications : Model : MR-Hei-Tec (HEIDOLPH-Germany) Cat. 505-30000-00 With Kera-Disk® material coating, fast heat-up times and chemical resistance. Speed, max (rpm) : 1.400 Speed accuracy (%) : ± 2 Display : digital Heating Power(W) : 800 (600 W for 115 V-units) Hot plate temperature (°C) : 20-300 Medium temperature, max (°C) : 250 Accuracy temperature setting (°C) : ±1 Temperature control : electronic Temperature accuracy hotplate (°C) : ±5 Stirring capacity, max. H2O (L) : 20 Load, max. (kg) : 25 Power consumption (W) : 820 Permissible ambient temperature(°C) : 0-40 Max. relative humidity (%) : 80 Max. permitted operation (%) : 100 Plate diameter (mm) : Ø145 Plate material : V2A Weight (kg) : 2.9 Dimension (l x w x h) (mm) : 173 x 277 x 94 Protection class (DIN EN60529) : IP 32 Supply voltage (V/Hz) : 230/50 Kera-Disk® material coating | 2 | Unit | …………… | …………… |
| 3. | POMPA VAKUM Oilless Diaphragm Vacuum Pump Model DOA-P504-BN Made in USA Specification : 60 PSI Max pressure , 1.1 cfm open flow 24,5" Hg Max Vacuum , 1.1 cfm open flow Motor : 1/8 HP Electricity : 220V/50-60 Hz Measures 6" x 11" x 8" and weighs 18 Lbs - Oilless Operation Application for filtration , cell culture and dessicator in Laboratories. Vacuum Pump ini dapat digunakan untuk uji test kebocoran packaging | 1 | Unit | …………… | …………… |
| 4. | Alat Pembuat Aquades / Water Destiling Merk : Daihan Labtech LWD 3004 Specification : Dimensi (WxDxH mm) : 680 x 340 x 530 • Kapasitas : 4 Liter/Jam • Heater : 3Kw • Cooling Water : Approx 30 – 50 Liter • Material : Interior : Stainless Stell Boiler, Stainless Stell Storage Tank Exterior : Power Coating Steel Case • Reservoir : 8L SUS Storage Tank • Operation : Fully Automatic Operation • Signal Lamp : Distill, Full, Water • Safety Device : Over Temp. Protector, Water Float Level Sensor, Water Supply Cut Off • Electric Supply : 220V 50/60Hz | 1 | Unit | …………… | …………… |
| 5. | UHPLC with autosampler and detector UV VIS, PDA Ultra High Performance Liquid Chromatography (1 unit) Low Pressure Gradient with Autosampler, UV-Vis And Diode Array Detector Spesification : Pump (1 unit) TYPE : LPG-3400SD Pump with degasser MERK : Thermo Scientific Flow range : 0.001–10.0 mL/min Max. Pressure : 62 MPa Gradient Formation : Low-pressure proportioning Proportioning Accuracy : ± 0.5% (full scale) Proportioning Precision : < 0.15% SD No. of Eluent Lines : 4 Solvent Degassing : Built-in, 4 Channels Operating Principle : Serial dual-piston Flow Accuracy : ± 0.1% Flow Precision : < 0.05% RSD Pulsation : Typically: < 0.2 Mpa Emission Sound Pressure Level : < 70 dB(A) in 1-m-distance Thermostatted Column Compartment (1 unit) TYPE : TCC-3000SD MERK : Thermo Scientific Temperature Range : 5 °C–80 °C Max. 18 °C below ambient Temperature Accuracy : ±0.5 °C Temperature Stability : ±0.1 °C Temperature Precision : ±0.1 °C Heatup/Cooldown Time : Typically 12 min from 20 °C to 50 °C/Typically 15 min from 50 °C to 20°C at ambient temperature of 25 °C Column Capacity : Up to 12 columns, depending on column length Max. column length: 30 cm Autosampler (1 unit) TYPE : WPS-3000TSL MERK : Thermo Scientific Injection methods : In-line split-loop (flow-through) injections, bypass mode, user-defined columns "Injection volume (recommended) : 0.01–100 μL (1–100 μL) Optional: 0.2–25 μL, 1.5–250 μL, 1.5–500 μL" Injection volume accuracy : Typically ± 0.5% at 50 and 90μL Injection volume precision : <0.25% RSD at 5 μL (typically <0.15% RSD) caffeine in water Linearity : Corr. coeff. >0.9999, RSD <0.5% at 5–90 μL, caffeine in water Carryover : <0.004% for caffeine with external wash at 7.5 Mpa Injection cycle time : <15s for 5μL Sample capacity : 120 × 1.8 mL/2.0 mL vials Needle wash : Active external needle wash Sample thermostatting : 4–45 °C or 22 °C below ambient Sample temperature accuracy : ± 2 °C UV-VIS Detector (1 unit) TYPE : VWD-3100 MERK : Thermo Scientific Wavelength Range : 190 to 900 nm Data collection rate : Single wavelength up to 100 Hz Noise, single wavelength : < ±3.5 μAU (typical < ±2.5 μAU) at 254 nm, time constant 1 s, dry analytical flow cell Drift : < 1 × 10-4 AU/h at 254 nm and dry analytical flow cell. Linearity : < 5% RSD (typical < 3% RSD) at 2.5 AU caffeine, wavelength: 272 nm based on ASTM Light Source : Deuterium lamp, tungsten lamp (Tungsten lamp optional on VWD-3100) Temperature control for both lamps Wavelength Accuracy : ±1 nm (over detector lifetime) Wavelength repeatability : ±0.1 nm Optical bandwidth : 6 nm at 254 nm Safety feature : Power-up diagnostics of optics, cooling fans, motors, and electronics leak sensor PDA Detector (1 unit) TYPE : DAD-3000 MERK : Thermo Scientific Wavelength Range : 190 to 800 nm Element : 1024 Noise : Wide slit: <±8 μAU at 254 nm. Narrow slit: <±10 μAU at 254 nm response time 2 s (according to ASTM time constant ~1 s), 4 nm bandwidth, water at 1.0 mL/min Drift : <1 mAU/h (typically <0.5 mAU/h) at 254 and 520 nm with water at 1.0 mL/min Linearity : <3% RSD and corr. coeff. >0.9995 up to 1.5 AU, typically <5% RSD and corr. coeff. > 0.999 up to 2.0 AU Light Source : Deuterium lamp, tungsten lamp, temperature control for both lamps Wavelength Accuracy : ±1.0 nm, self-calibration with D-alpha line, verification with holmium oxide filter Wavelength Precision : ±0.1 nm Pixel Resolution : <1 nm PC & Printer (masing-masing 1 unit) DELL Optiplex 5050 MT Intel(R) Core i5 (TM) RAM 4GB HDD 500GB , USB Optical Mouse , USB Keyboard, DVDRW Integrated Video,DELL LED Monitor 18.5 ", HP CP 1025 Laser Jet colour Printer Completed : CM7 License Key: New (1 buah) CM7 Bundle WSO: Workstation Open (1 buah) 2 ml vial 100pcs/pack (1 buah) Accucore C18, 100 x 4.6mm, 2.6um (2 buah) Accucore C18 Defender Guard (2 buah) Syncronis C18 250x4.6mm,5um (2 buah) Syncronis C18 10x4.0mm,5umdrop-in guards (2 buah) 4.6mm ID guard holder (2 buah) Botol reagent 500m (4 buah) Syringe Filter, 30mm, 0.2um 100pcs/pack (1 buah) UPS 3 KVA merk Prolink (1 unit) Meja berbahan jati ukuran 80 cm x 150 cm Sample Prep. Kit: Ultrasonic Cleaner, 1.9 L (1 unit) Vaccum Pump (1 unit) Vaccum Flask with Holder (1 unit) Whatman Vaccum Type Glass Holder (1 buah) Syringe holder, 13 mm (1 buah) Membrane filter PTFE, 0.2 um (for Eluen) (1 buah) Membrane filter PTFE, 0.2 um (for sample) (1 buah) Membrane filter CN, 0,2 um (for Eluen) (1 buah) Membrane filter CN, 0,2 um (for Sample) (1 buah) Methanol HPLC Grade 4 Liter/Btl (1 botol) Acetonitrile HPLC Grade 4 Liter/Btl (1 botol) Eluent Bottle (5 buah) | 1 | Unit | …………… | …………… |
| Jumlah |  |  |  |  | …………… |
| Terbilang : |  |  |  |  |  |

NB : *) harga sudah termasuk pajak

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002