KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id

Nomor 		: Un.03/KS.01.7/3030/2017						                    21 Agustus 2017

Lampiran 	: 1 (satu) bendel

Perihal 		: Permintaan Informasi Harga

Kepada Yth.

............................................................................................

di

- T e m p a t –

Dengan hormat,.

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Sarana Prasarana Lab. Teknologi Farmasi UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2017, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini untuk data dukung survey pembuatan HPS (Harga Perkiraan Sendiri) Lelang Pengadaan Peralatan dan Mesin Lab. Teknologi Farmasi.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari		: Selasa

Tanggal		: 05 September 2017

Pukul		: 10.00 WIB

Tempat 	: Kantor Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Surat tentang informasi harga barang tersebut, ditujukan:

Kepada Yth:

Pejabat Pembuat Komitmen FKIK

Universitas Islam Negeri Maulana Malik Ibrahim Malang

Jalan Gajayana No. 50 Malang

Adapun informasi harga tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.idatau ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002

Lampiran	:

Surat Permintaan Informasi Harga Barang

Nomor	: Un.03/KS.01.7/3030/2017

Tanggal	: 21 Agustus 2017

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: Pengadaan Peralatan dan Mesin Lab. Teknologi Farmasi

Lokasi		: Fakultas Kedokteran Dan Ilmu-Ilmu Kesehatan

Tahun Anggaran 	: 2017

| No | Nama Barang, Spesifikasi dan Gambar | Volume |  | Harga (Rp) | Jumlah (Rp) |
| --- | --- | --- | --- | --- | --- |
| 1. | Dispersers Brand : IKA, Germany. Model : T 25 digital ULTRA-TURRAX® Package; 9024200. Specification - Motor rating input 800 W. - Motor rating output 500 W. - Volume range min. (H2O) 0.001 l. - Volume range max. (H2O) 2 l. - Viscosity max. 5000 mPas. - Speed range 3000 - 25000 rpm. - Speed deviation 1 %. - Speed display LED. - Speed control stepless. - Noise without element 75 dB(A). - Extension arm diameter 13 mm. - Extension arm length 160 mm. - Process type batch. - Timer no. - Permissible ON time 100 %. - Dimensions (WHD) 87 x 271 x 106 mm. - Weight 2.5 kg. - Permissible ambient temperature 5 - 40 °C. - Permissible relative moisture 80 %. - Protection class according to DIN EN 60529 IP 20. - RS 232 interface no. - USB interface no. - Analog output no. - Voltage 200 - 240 V. - Frequency 50/60 Hz. - Power input 800 W. Include item:. Dispersing Instruments. Boss Head Clamp. Stands. | 1 | Unit | …………… | …………… |
| 2 | HOTPLATE WITH MAGNEETIC STIRRER This units features a digital display and allows for easy setting and monitoring value on the illuminated read out. For your protection, an independent safety circuit will switch off heating if hotplate temperature goes above 25ºC of set temperature. Digital speed setting from 100 to 1.400 rpm at an accuracy of 2% and temperature setting up to 300ºC. A separate on/off switch for heating prevents an unintentional heat up. If heating is switched on, the on/off button is illuminated for visual control. Upgrade this magnetic stirrer with the optional digital thermometer, that provides precise temperature control to give you temperature overshoot protection and reproducible results. Technical Specifications : Model : MR-Hei-Tec (HEIDOLPH-Germany) Cat. 505-30000-00 With Kera-Disk® material coating, fast heat-up times and chemical resistance. Speed, max (rpm) : 1.400 Speed accuracy (%) : ± 2 Display : digital Heating Power(W) : 800 (600 W for 115 V-units) Hot plate temperature (°C) : 20-300 Medium temperature, max (°C) : 250 Accuracy temperature setting (°C) : ±1 Temperature control : electronic Temperature accuracy hotplate (°C) : ±5 Stirring capacity, max. H2O (L) : 20 Load, max. (kg) : 25 Power consumption (W) : 820 Permissible ambient temperature(°C) : 0-40 Max. relative humidity (%) : 80 Max. permitted operation (%) : 100 Plate diameter (mm) : Ø145 Plate material : V2A Weight (kg) : 2.9 Dimension (l x w x h) (mm) : 173 x 277 x 94 Protection class (DIN EN60529) : IP 32 Supply voltage (V/Hz) : 230/50 Kera-Disk® material coating |  |  |  |  |
| 3 | Viscometer Brand : Brookfield Cone and Plate Model : DV-III ULTRA CPE Spesification - Determine absolute viscosity : of small samples (0.5 – 2.0 mL) - Accuracy: ±1.0% of range - Repeatability: ±0.2% - Electronic Gap Adjustment™ - Simplified setup - Accurate - Easy-to-use - RTD Temperature Sensor in Sample Cup (Optional) provides direct measurement of sample temperature - Control Sample Temperature using a Brookfield circulating water bath (p27) - Rapid temperature control due to small sample size - Temperature Range:- 10°C to 100°C - Precise shear rates : for determining a material’s flow curve behaviour Include Item : Training and Instalation Sample cup Wingather Software for viscometer PC All in one : processor core i5; memory 4GB ; HDD 500GB Color Laser Jet Printer |  |  |  |  |
| 2. | Particle Sizing and Zeta Potential Analyzer Brand : Microtrac, USA. Model : NANOTRAC WAVE II. Spesification - Superior optical signal (Controlled Reference Method) delivers sensitivity and precision for measuring multi-mode samples - Improved chemical resistance - teflon Sample cell - Sample cell cleaness alert Particle Size 0.3 to 10,000 nm Zeta Potential - 200 mV to + 200 mV Mobility 0 to 15.5 micron/sec/volt Molecular Weight 300 Da to 20 MDa Hydrodynamic and Debye Plot with 2nd Viral coefcient calculation Measurement Angle 180 deg back scatter - GRIN Lens Focusing Detection principle Heterodyne Detection Principle Chemical compatibility Aqueous and Non-Aqueous Sample Volume 150 ul to 2 ml Repeatability 1 % or better for 100 nm Polystyrene Concentration from ppm to 40 % by volume Temperature Control 5 to 90 deg C Included item: - PC : HP Pavilion All-in-One Touchsmart 24-B214D OHB : Intel Core i7-7700T; 2TB HDD; 4GB DDR4; DVD±RW; Touchscreen; 23" FHD; Win 10; Ms Office Professional Plus 2016 b. - Color Laser Jet Printer : HP LaserJet Pro 200 Color M252n - UPS 2 kVA; Merk : Riello Aros ; type Sentinel Pro SEP2200 - Meja besi: ukuran 190 cm x 80 cm x 75 cm; dengan Granit dengan tebal 1 cm menutup meja besi. - Standard for Size - Standard for Zeta Potential | 1 | Unit | …………… | …………… |
| Jumlah |  |  |  |  | …………… |
| Terbilang : |  |  |  |  |  |

NB : *) harga sudah termasuk pajak

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 200003 1 002