|  | KEMENTERIAN AGAMA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG Jl. Gajayana No. 50 Malang 65144, Telp. (0341) 551354, Fax. (0341) 572533 Website : www.uin-malang.ac.id E-mail : info@uin-malang.ac.id |
| --- | --- |

Nomor 		:  Un.03/KS.01.7/3712/2017					10 Oktober 2017

Lampiran 	:  1 (satu) bendel

Perihal 		:  Permintaan Informasi Harga Barang

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Alat Kesehatan Unit Layanan Kesehatan FKIK UIN Maulana Malik Ibrahim Malang Tahun Anggaran 2017, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.

Kami harap data barang dapat kami terima paling lambat pada :

Hari	: 	Rabu

Tanggal	: 	18 Oktober 2017

Jam	:  	14.00 WIB

Tempat 	: 	Unit Layanan Pengadaan

Lantai II Gedung Rektorat UIN Maulana Malik Ibrahim Malang

Jl. Gajayana No. 50 Malang (0341) 570886

Adapun informasi harga tersebut bisa dikirim ke kantor ULP atau via e-mail ke : ulp@uin-malang.ac.id/ ulp_uinmalang@kemenag.go.id.

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 20000 3 1 002

Lampiran	:

Surat Permintaan Informasi Harga Barang

Nomor 		: Un.03/KS.01.7/3712/2017

Tanggal 	: 10 Oktober 2017

Rincian Anggaran Biaya (RAB)

Pekerjaan 	: 	Pengadaan Alat Kesehatan

Lokasi	: 	FKIK UIN Maulana Malik Ibrahim Malang

Tahun Anggaran 	: 	2017

| No | Nama Barang |  | Spesifikasi |  |  | Volume |  |  |  | Harga Satuan |  | Jumlah |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Unit Layanan Kesehatan |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Lemari Instrumen |  | Lemari Instrumen 2 Pintu Dimensi : 90x40x170 cm Konstruksi : Plat MS, Kaca 5 mm Finishing : Epoxy Powder Coating Aksesoris : 3 Shelf Glasses (Adjustable High) |  |  | 4 |  | buah |  |  |  |  |
| 2 | Trolley Instrumen |  | Instrument Trolley S/S Tanpa laci 2 rak Aksesoris : Roda 2” |  |  | 4 |  | Unit |  |  |  |  |
| 3 | Tensimeter Standing |  | Reister Nova Presameter Specification : Maximum error tolerance of +/- 2 mmHg 99.99% pure mercury Precision glass column internal diameter 4.2 mm +/- 0.2 mm (0.16 in +/- 0.008 in) Precision air release valve, wear-free and features fine regulation Microfilters protect the measuring system and against mercury pollution Two-tube bladder cuffs with metal screw-type connectors Coil tubing extendible up to 3 m (9 ft 10 in) Easy-to-read scale up to 300 mmHg Mercury lock Large torage compartment for cuff + bulb with meal fixture for bulb Cleaning device for glass column Full range of bladder cuff sizes and designs Lightgrey finish Height 1.05 m (41.3 in), extendible to 1.30 m (51.2 in) Sturdy mobile base made of fibreglass with a chrome plated pole: diameter 53 cm (20.9 in) with easy to move low friction castors |  |  | 3 |  | Unit |  |  |  |  |
| 4 | Tandu Lipat |  | GEA Dimensi Produk: 2210 x 530 x 150mm Dimensi Produk terlipat: 1100 x 180 x 220mm Berat Bersih: 6 Kg Berat Mak simal: 159 Kg Terdapat shield belt Terdapat tas tandu lipat Pegangan tandu dari bahan karet |  |  | 1 |  | Unit |  |  |  |  |
| 5 | Tensimeter raksa dewasa |  | Reister Nova Presameter ® Specification: Maximum error tolerance of +/- 3 mmHg 99.99% pure mercury Precision glass column internal diameter 4.2 mm +/- 0.2 mm Latex bulb with chromium plated release valve Precision air release valve, wear-free and features fine regulation Cotton hand-cuff with two tube latex bladder Metal faceplate with easy to read scale up to 300 mmHg Mercury lock Special seal against mercury contamination |  |  | 2 |  | Unit |  |  |  |  |
| 6 | Tensimeter raksa anak |  | Reister Nova Presameter ® Spesification: Maximum error tolerance of +/- 3 mmHg 99.99% pure mercury Precision glass column internal diameter 4.2 mm +/- 0.2 mm Latex bulb with chromium plated release valve Precision air release valve, wear-free and features fine regulation Cotton hand-cuff with two tube latex bladder Metal faceplate with easy to read scale up to 300 mmHg Mercury lock Special seal against mercury contamination |  |  | 1 |  | Unit |  |  |  |  |
| 7 | Tensimeter Anak Pegas |  | ABN NYLON CUFF WITH 2 TUBE LATEX BLADDER ASSEMBLY – Child (Anak) PRODUK SPESIFIKASI ABN Nylon Cuff w/ 2 Tube- Manset/ Cuff : Bladder Assembly - Berbahan Nylon dengan Logo ABN Healthcare System Bladder : - Berbahan Natural Latex - 2 Tubing No. Cat. : - Rentang Pengukuran : 265-122-025 * Child : 184 - 267 mm |  |  | 1 |  | Unit |  |  |  |  |
| 8 | Tensimeter Dewasa Pegas |  | ABN NYLON CUFF WITH 2 TUBE LATEX BLADDER ASSEMBLY – Adult (Dewasa) PRODUK SPESIFIKASI ABN Nylon Cuff w/ 2 Tube- Manset/ Cuff : Bladder Assembly - Berbahan Nylon dengan Logo ABN Healthcare System Bladder : - Berbahan Natural Latex - 2 Tubing No. Cat. : - Rentang Pengukuran : 265-122-021 * Adult : 254 - 406 mm |  |  | 2 |  | Unit |  |  |  |  |
| 9 | Termometer anak infrared |  | OMRON Forehead Thermometer MC-720 Spesifikasi • Digital Forehead Thermometer • Forehead Measurement Mode • Room Measurement Mode • Surface Measurement Mode • 1 Second Quick Measurement • 25 Memories Storage • LCD Screen • Touch Free • Easy to use |  |  | 1 |  | Unit |  |  |  |  |
| 10 | Ambubag dewasa |  | MOW Silicone Resuscitator Dewasa Alat Bantu Pernapasan Manual Jenis : Ambubag |  |  | 1 |  | Set |  |  |  |  |
| 11 | Ambubag anak |  | MOW Silicone Resuscitator Anak Alat Bantu Pernapasan Manual Jenis : Ambubag |  |  | 1 |  | Set |  |  |  |  |
| 12 | Lampu Lingkar Kepala |  | RIESTER HEADLAMP RI-FOCUS 6091 The Model 6091 ri-focus LED headlight includes 1 set of rechargeable AAA batteries and plug-in charger 230V. SFESIFIKASI Battery Life 4 hours, Non-Rechargable; 90 minutes, Rechargable Color Temperature 6,000 Kelvin Focus Length 15.7 in (40 cm) distance, 40 mm diameter to 200 mm diameter Illumination 140 Lumen Power AAA Rechargeable Batteries Weight 7.4 oz (210 g) without Batteries FITUR Infinitely adjustable focusable LED lamp Built-in battery compartment On/off switch on battery compartment Charge jack for plug-in charger integrated in battery compartment Powered by Rechargeable AAA batteries, included Headband cleaning made easy by inner, removable and washable padding Adjustable headband |  |  | 1 |  | Unit |  |  |  |  |
| 13 | Ofthalmoscope |  | RIESTER PEN-SCOPE OPHTHALMOSCOPE • Provided with four apertures, without red open filter. • -40 to 0 to +40 focusing lenses for better resolution. • With 2.5 V vacuum lamp. • Screw fitting for fast and secure attachment to the handle. • Sturdy adjustment ring to turn the instrument head to the ideal position on the handle. • Extremely impact resistant casing made of glass-fibre reinforced plastic. • Simple exchange of the lamp at the base of the instrument head. |  |  | 1 |  | Unit |  |  |  |  |
| 14 | Otoscope |  | Riester Penscope Otoscope 2.7v with Pouch • Pen-scope® Otoscope • 2.5V vacuum lamp • Direct illumination, with an upgraded, reflection-minimized illumination • Removable magnifying lens with 2.5x magnification • Possibility to insert external instruments when magnifying lens is removed • Screw fitting for secure attachment to the handle • Sealed system for performing pneumatic otoscopy • Extremely impact resistant casing made of glass-fibre reinforced plastic • Simple bulb replacement at the base of the instrument head • Including ear specula 4mm and 2.5mm • Supplied in a sturdy nylon pouch |  |  | 1 |  | Unit |  |  |  |  |
| 15 | Lampu Tindakan |  | Lampu Tindakan Halogen "SURGIMED" |  |  | 2 |  | Unit |  |  |  |  |
| 16 | Fetal Doppler |  | Bistos BT 200 Spesifikasi : - Frekuensi Tengah Ultrasound: 2 MHz - Intensitas :< 10mW/cm2 - Sensitifitas : 10-20 minggukeatas. - Batas penghitungandetakjantung : 50-240 bpm - AkurasiFHR : +- 2% darinilai. - Ukuran : 75 x 128 x 26 m |  |  | 1 |  | Unit |  |  |  |  |
| 17 | Stetoscope |  | ABN Classic StethoscopDewasa (no. cat SS-021) |  |  | 2 |  | Unit |  |  |  |  |
| 18 | Stetoscope |  | ABN Classic StethoscopAnak (no. cat SS-025) |  |  | 2 |  | Unit |  |  |  |  |
| 19 | Mesin Cetak Kartu Berobat |  | ZEBRA ZXP 3 Printer Specifications Dye-sublimation thermal transfer direct to card Full color or monochrome printing Single- and dual-sided printing 700 cph monochrome single-sided 180 cph single-sided YMCKO 140 cph dual-sided YMCKOK Edge-to-edge printing on standard CR-80 media More Standard Features Auto calibration of ribbon USB connectivity Microsoft Certified Windows drivers Energy Star Certified Print Touch NFC tag for online Printer documentation access 100 card covered feeder (30 mil) 45 card capacity output hopper (30 mil) 16-character LCD operator control display 300 dpi (11.8 dots/mm) print resolution Secure lock slot |  |  | 1 |  | Unit |  |  |  |  |
| 20 | APAR 9kg |  | Tabung pemadam kebakaran, Jenis Chemical Dry Powder, Kapasitas 9 Kg. Efektif untuk semua kelas kebakaran ABC. |  |  | 2 |  | Unit |  |  |  |  |
| 21 | Pulse Oximeter |  | Elitech Mobile Fox 1 - Elitech Sp02 Range : 0-99% - Accuracy : 70-99% : +/-2% ; 70 unspesified - Pulse Rate Range : 30-250 - Resolution : 1 BPM Accuracy : +/-2 BPM or +/-2% which one is greater - Pulse Intensity : Bar Graph and waveform display Pulse Rate value display in 3 digits - Alarm : Low Power indicator - Display : 0,96' dual color OLED ( blue and yellow ) - Screen Resolution : 128 x 64 dpi - Automatically power off within 5 seconds when no finger detect Auto saved last display format |  |  | 2 |  | Unit |  |  |  |  |
| Jumlah |  |  |  |  |  |  |  |  |  |  |  |  |
| Terbilang: |  |  |  |  |  |  |  |  |  |  |  |  |

NB :

*) Harga sudah termasuk PPN

Pejabat Pembuat Komitmen,

Ach. Nashichuddin, MA

NIP 19730705 20000 3 1 002