|  | KEMENTERIAN AGAMA REPUBLIK INDONESIA UNIVERSITAS ISLAM NEGERIMAULANA MALIK IBRAHIM MALANG FAKULTAS SAINS DAN TEKNOLOGI Jl. Gajayana No. 50 Malang 65144 Telp./ Faks. (0341) 558933 |
| --- | --- |

Nomor		: 1626/FST/KU.001/7/2018

Sifat		: Segera

Lampiran	: 1 Bendel

Hal		: PERMINTAAN INFORMASI HARGA BARANG

Yth		: ________________________________________________

Di

- Tempat -

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan pekerjaan Belanja Modal Peralatan dan Mesin Peralatan Laboratorium Jurusan Fisika Berupa Calorimeter Boom, Kamera Cymos, Osiloskop dll Fakultas Sains dan Teknologi Universitas Islam Negeri Maulana Malik Ibrahim Malang, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Apabila informasi harga yang saudara berikan sesuai dan kami nilai wajar, maka kami akan memberi kesempatan perusahaan saudara untuk membuat penawaran terhadap pekerjaaan tersebut.Kami harap informasi harga barang dapat kami terima paling lambat pada :

Hari /tanggal 		: Rabu, 11 Juli 2018

Jam 			: 10.00 WIB

Tempat 	: Unit Layanan Pengadaan Lantai II Gedung Rektorat UIN Maliki Malang, Jl. Gajayana 50 Malang

atau penawaran tersebut bisa dikirim via e-mail ke : ulp@uin-malang.ac.id / ulp_uinmalang@kemenag.go.id atau bisa dikirim langsung ke kantor ULP atau di Fax ke (0341) 570886

Pejabat Pembuat Komitmen Fakultas Sains dan Teknologi

UIN Maulana Malik Ibrahim Malang

Jalan Gajayana 50 Dinoyo Malang

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Sri Harini

Lampiran I	:	Surat Permintaan Informasi Harga Barang

Nomor	:	1626/FST/KU.001/7/2018

Tanggal 	:	1 Juli 2018

Tentang	:

Pekerjaan 	:	Pengadaan Belanja Modal Peralatan dan Mesin

Berupa 	:	Peralatan Laboratorium Jurusan Fisika Berupa Calorimeter Boom, Kamera Cymos, Osiloskop dll

| NO | NAMA ALAT | SPESIFIKASI | VOLUME |  | HARGA SATUAN | TOTAL HARGA |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Calorimeter Boom | Digital Bomb Calorimeter (Calibration Certificate by NABL approved Lab) Optional with Extra Charges 3000 + GST 18% Brand : ATHENA Model : DIGITAL BOMB CALORIMETER WITH BECKMANN THERMOMETER Temperature Resolution: - 0.01 Degree Celsius Display: - LED Calculation: - Manual Printer: - NO Oxygen Filling: - Manual 1. With Following High Quality Accessories: 2. S.S. BOMB 3. Oxygen regulator Valve 4. Pellet Press 5. Hook for Lifting Bomb 6. S.S. Crucible 7. Cotton Thread 8. "O" Ring for Bomb 9. Small "O" Ring for Valve Body: 3 Pcs 10. Ignition wire:10 Mtrs 11. Schrader Valve: 4 Pcs 12. Bursting Disc: 10 Pcs 13. Outer jacket with Puff Insulation 14. Offset Stirrer (heavy duty) 15. Flexible 3 Tubes of high pressure (for gas filling) 16. Benzoic Acid of known calorific value (Photocopy of Lab Test Certificate attached) 17. Pressure Gauge 18. Becklite Combine Lid of Jacket 19. Safety Gauge 20. Connecting Lead 21. Spanner 22. Stirrer belt: 3 Pcs 23. Gas Release Pin 24. Valve key 25. Stand for Hanging Bomb Lid 26. Cylinder Valve Key 27. Compact Weighing Machine Instalasi dan pelatihan alat | 1 | Unit | Rp | Rp |
| 2 | Kamera Cymos | Type : CMOS IMX174 Sensor: 1/1.2″ CMOS IMX174LLJ / IMX174LQJ Resolution: 2.3Mega Pixels 1936×1216 Pixel Size: 5.86µm Exposure Range: 32µs-300s ROI: Supported Interface: USB3.0/USB2.0 Bit rate: 12bit output(12bit ADC) Adaptor: 2″ / 1.25″ / M42X0.75 Dimension: φ62mm X 41mm Weight: 140g Working Temperature: -5°C—45°C Storage Temperature: -20°C—60°C Working Relative Humidity: 20%—80% Storage Relative Humidity: 20%—95% Supported resolution Binning 1×1: 12bit ADC: 1936X1216@128FPS 640×480@309FPS 320×240@577FPS Binning 2×2: 968×608@128FPS Binning 1×1: 10bit ADC:1936X1216@164FPS 640×480@397FPS 320×240@740FPS Binning 2×2:968×608@164FPS | 1 | Unit |  |  |
| 3 | Pesawat atwood | Ukuran : Tinggi tiang : 150 cm Katrol : Ø 200 mm Beban utama (Set Beban dengan Tali) : 100 g Beban bercelah : 5 g Bahan : Tiang : Aluminium Beban utama (Set Beban dengan Tali) : Kuningan divernekel Beban tambahan (beban bercelah) : Aluminium Katrol : Plexiglass Terdiri dari: | 1 | Unit |  |  |
| 4 | Alat Jatuh Bebas | Ukuran : (P) 122.00 x (L) 24.00 x (T) 21.00 cm Berat : 7.300 Kg No; KODE; NAMA ALAT; JUMLAH. 1; KST 25/30; Dasar statif 190 mm, bentuk A; 1 buah. 2; KST 30/1000; Batang statif ∅ 10 x 100 mm, stailess stell; 1 buah. 3; GME 102; Magnet pemegang; 1 buah. 4; GME 101 03; Gerbang cahaya FA; 2 buah. 5; PMK 161 01; Bola logam ∅ 19 mm; 1 buah. 6; PMK 160; Pemberat timbangan; 1 buah. 7; KSt 36/04; Klem Boshead; 3 buah. 8; GMM 221; Roll meter 3 m; 1 buah. 9; GSE 230 14; Kabel penghubung electromagnet; 1 buah. 10; GME 100; Pewaktu cacah AT-01; 1 buah. | 1 | Unit |  |  |
| 5 | Set tabung resonansi | Ukuran :Keseluruhan 1185 x 100 x 150 mm Berat : 2.475 kg Bahan : Flexiglass No; KODE; NAMA ALAT; JUMLAH. 1; PWS 160.01; Tabung resonansi; 1 buah. 2; PWS 160.02; Mikrofon; 1 buah. 3; PWS 160.03; Sound level meter; 1 buah. 4; FAL 25; Generator Frekuensi Audio: - Rentang frekuensi: 0.1 Hz – 110 MHz - Distorsi pada gelombang sinus kurang dari 2% (1kHz) - Daya keluaran maksimum 3 Whatt pada beban 8 ohm - Tegangan masukan 110/220 VAC - Proteksi sekring (fuse) : 0,5 A (Ø 5x20 mm); 1 buah. | 1 | Unit |  |  |
| 6 | Osiloskop | Model TBS1052B-EDU Bandwidth : 50 MHz Channels : 2 Sample rate on each channel : 1.0 GS/s Record length : 2.5k points at all-time bases Vertical system – Analog channels Vertical resolution : 8 bits Input sensitivity range : 2 mV to 5 V/div on all models with calibrated fine adjustment DC gain accuracy : ±3%, from 10 mV/div to 5 V/div Maximum input voltage : 300 VRMS CAT II; derated at 20 dB/decade above 100 kHz to 13 Vp-p AC at 3 MHz and above Offset range: 2 mV to 200 mV/div: ±1.8 V>200 mV to 5 V/div: ±45 V Bandwidth limit : 20 MHz Input coupling : AC, DC, GND Input impedance : 1 MO in parallel with 20 pF Vertical zoom : Vertically expand or compress a live or stopped waveform Horizontal system — Analog channels Time base range 50 MHz and 70 MHz models : 5 ns to 50 s/div 100MHz, 150MHz and 200MHz models : 2.5 ns to 50 s/div Time base accuracy : 50 ppm Horizontal zoom : Horizontally expand or compress a live or stopped waveform Input/Output ports USB interface : USB host port on front panel supports USB flash drives USB device port on back of instrument supports connection to PC GPIB interface : Optional Data storage Nonvolatile storage Reference waveform display : 2.5K point reference waveforms Waveform storage without USB flash drive : 2.5K point Maximum USB flash drive size : 64 GB Waveform storage with USB flash drive : 96 or more reference waveforms per 8 MB Setups without USB flash drive : 10 front-panel setups Setups with USB flash drive : 4000 or more front-panel setups per 8 MB Screen images with USB flash drive :128 or more screen images per 8 MB (the number of images depends on file format selected) Save All with USB flash drive : 12 or more Save All operations per 8 MB A single Save All operation creates 3 to 9 files (setup, image, plus one file for each displayed waveform) Course content : 100 MB Acquisition system Acquisition modes Peak Detect : High-frequency and random glitch capture. Captures glitches as narrow as 12 ns (typical) at all time base settings from 5 µs/div to 50 s/div Sample : Sample data only Average : Waveform averaged, selectable: 4, 16, 64, 128 Single Sequence : Use the Single Sequence button to capture a single triggered acquisition sequence Roll : At acquisition time base settings of >100 ms/div Trigger system External trigger input : Included on all models Trigger modes : Auto, Normal, Single Sequence Trigger types Edge (Rising/Falling) : Conventional level-driven trigger. Positive or negative slope on any channel. Coupling selections: AC, DC, Noise Reject, HFReject, LF Reject Video : Trigger on all lines or individual lines, odd/even or all fields from composite video, or broadcast standards (NTSC, PAL, SECAM) Pulse Width (or Glitch) : Trigger on a pulse width less than, greater than, equal to, or not equal to, a selectable time limit ranging from 33 ns to 10 s Trigger source : Two channel models: CH1, CH2, Ext, Ext/5, AC Line Trigger view : Displays trigger signal while Trigger View button is depressed. Trigger signal frequency readout : Provides a frequency readout of the trigger source. Waveform measurements Cursors Types : Amplitude, Time Measurements : ΔT, 1/ΔT, ΔV Automatic measurements : Period, Frequency, Pos Width, Neg Width, Rise Time, Fall Time, Maximum , Minimum , Peak-Peak, Mean, RMS, Cycle RMS, Cursor RMS, Phase, Pos Pulse Cnt, Neg Pulse Cnt, Rise Edge Cn, Fall Edge Cn, Pos Duty, Neg Duty, Amplitude, Cycle Mean, Cursor Mean, Burst Width, Pos Overshoot, Neg Overshoot, Area, Cycle Area, High, Low, Delay RR, Delay RF, Delay FR, Delay FF Waveform math Arithmetic : Add, Subtract, Multiply Math functions : FFT FFT : Windows: Hanning, Flat Top, Rectangular 2048 sample points Sources : Two channel models: CH1 - CH2, CH2 - CH1, CH1 + CH2, CH1 × CH2 Autoset menu Single-button, automatic setup of all channels for vertical, horizontal, and trigger systems, with undo autoset. Square wave : Single cycle, multicycle, rising or falling edge Sine wave : Single cycle, multicycle, FFT spectrum Video (NTSC, PAL, SECAM) : Field: All, Odd, or Even Line: All or Selectable Line Number Autorange : Automatically adjust vertical and/or horizontal oscilloscope settings when probe is moved from point to point, or when the signal exhibits large changes. Frequency counter Resolution : 6 digits Accuracy (typical) : + 51 parts per million including all frequency reference errors and +1 count errors Frequency range : AC coupled, 10 Hz minimum to rated bandwidth Frequency counter signal source : Pulse width or edge selected trigger source Frequency counter measures selected trigger source at all times in pulse width and edge mode, including when the oscilloscope acquisition is halted due to changes in run status, or acquisition of a single shot event has completed. The frequency counter does not measure pulses that do not qualify as legitimate trigger events. Pulse Width mode: Counts pulses of enough magnitude inside the 250 ms measurement window that qualify as triggerable events (e.g. all narrow pulses in a PWM pulse train if set to "<" mode and the limit is set to a relatively small number). Edge Trigger mode: Counts all pulses of enough magnitude. Channels : 2 channel Display system Interpolation : Sin (x)/x Waveform styles : Dots, vectors Persistence : Off, 1 s, 2 s, 5 s, infinite Format : YT and XY Courseware software System requirements The following PC configuration represents the minimum requirements needed to install the Courseware software. Operating System : Windows XP, Windows 7, Windows 8, Linux (ubuntu 12.04, 12.10, 13.04 or fedora 18, 19) RAM : 512 Megabytes (MB) Disk space : 1 Gigabyte of available hard disk space Display : XVGA 1024×768 with 120 dpi font size recommended Removable media : CD-ROM or DVD drive Peripherals : Keyboard and Microsoft mouse or other compatible pointing device Power source Power source voltage : 100 to 240 V ±10% Power source frequency 100 V to 240 V :50 Hz to 60 Hz 115 V : 400 Hz ±10% Power consumption : 30 W maximum Environmental Temperature Operating : 0 to +50 ºC Nonoperating : –40 to +71 ºC Humidity Operating and nonoperating : Up to 85% RH at or below +40 ºC Up to 45% RH up to +50 ºC Altitude Operating and nonoperating : Up to 3,000 m (9,843 ft.) Regulatory Electromagnetic compatibility : Meets Directive 2004/108/EC, EN 61326-2-1 Class A; Australian EMC Framework Safety : UL61010-1:2004, CSA22.2 No. 61010-1:2004, EN61010-1:2001, IEC61010-1:2001 | 4 | Unit |  |  |
| 7 | Hotplate | Catalog number; SP88857105. Product Size; Each. Surface Area (English) Heating; 7.25 x 7.25 in.. Top Plate Material; Ceramic. Electrical Requirements; 230V 50/60Hz. Speed; 50 to 1,500rpm. Temperature Range (Metric); 540°C (Max Temperature). Surface Area (English) Heating; 7.25 x 7.25 in.. Surface Area (Metric) Heating; 18.4 x 18.4cm. Top Plate Material; Ceramic. Voltage; 230V. Hertz; 50/60Hz. Certifications/Compliance; cCSAus, CE. Includes; 1 power cord. Shipping Weight (English); 11.2 lb.. Shipping Weight (Metric); 5.1kg. Stirring Range; 50 to 1,500rpm. Warranty and Service Offering; 3 years. Dimensions (L x W x H); 13 x 8.2 x 3.8 in. (33 x 20.8 x 9.7cm). Electrical Requirements; 230V 50/60Hz. Plug Type; EU. Max. Temperature (Metric); 540°C. Type; Hotplates Stirrers. | 1 | Unit |  |  |

Pejabat Pembuat Komitmen,

Sri Harini

NB:

- Harga sudah termasuk PAJAK

- Dimohon untuk mencamtumkan Spesifikasi secara Lengkap

- Termasuk Instalasi dan pelatihan