|  | KEMENTERIAN AGAMA REPUBLIK INDONESIA UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG FAKULTAS SAINS DAN TEKNOLOGI Kampus 1 JalanGajayana 50 Malang 65144, Telepon (0341) 558933, Faksimile (0341) 558933 Website : saintek.uin-malang.ac.id Email : saintek@uin-malang.ac.id |
| --- | --- |

Nomor 		: 1276/FST.1/KS.01.7/05/2019					07 Mei 2019

Lampiran 	:1 (satu) bendel

Perihal 		:Permintaan Informasi Harga Barang

Kepada Yth.

............................................................................................

di

‘- T e m p a t –

Dengan hormat,

Sehubungan rencana realisasi pelaksanaan Pengadaan Revitalisasi Peralatan Laboratorium Jurusan Biologi Fakultas Sains dan Teknologi UIN Maulana Malik Ibrahim Malang, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang Harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.

Informasi harga barang tersebut akan kami jadikan dasar survey Harga Perkiraan sendiri (HPS)

Kami harap data barang dapat kami terima paling lambat pada :

Hari			: Senin

Tanggal		: 27 Mei 2019

Jam			: 14.00 WIB

Tempat 		: Fakultas Sains dan Teknologi Gedung BJ. Habibie Lantai 1

Jl. Gajayana No. 50 Malang (0341) 558933

Adapun informasi harga tersebut bisa dikirim via e-mail ke : saintek@uin-malang.ac.id atau bisa dikirim langsung ke kantor Fakultas Sains dan Teknologi telp (0341) 558933.

Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.

Pejabat Pembuat Komitmen,

Anton Prasetyo

Lampiran I 	: Surat Permintaan Informasi Harga Barang

Nomor	:1276/FST/KS.01.7/05/2019

Tanggal	: 07 Mei 2019

Tentang	:

Pekerjaan 	:	Pengadaan Alat Revitalisasi Jurusan Biologi Tahun 2019

| No | Alat | Spesifikasi | Vol | Satuan | Jumlah |
| --- | --- | --- | --- | --- | --- |
| 1 | Countess II FL Reusable Slide | Invitrogen Thermo Fisher Scientific Cat. A25750 For use with the Countess® II FL Automated Cell Counter Only.. The Countess II FL Reusable Slide is a greener alternative to disposable slides.. | 1 | Unit |  |
| 2 | Bench pH meter | Thermo Fisher Scientific Cat. Star A1110 Product Size : Each. Temperature: 41o C. Stability: Smart Stability and smart averaging. Resolution (temperature): 0.1 o C, 0.1 o F. Temperature Probe Calibration: 1 point temperature offset calibration. Warranty: 3 year meter warranty. Weight: 0.9 kg. AC adapter: Universal 50-60 Hz, 100-240 VAC power adapter. Accurancy (pH): 0.01 pH. Accurancy (mV): 0.2 mV or 0.05% of reading. Accurancy (temperature): 0.01 o C. Battery Life: 2000 hr. Battery Type: 4 x AA. Description: Orion Star A111 pH benchop meter with stand. Dimention: 24 cm x 18 cm x 11 cm. Range: -2.00 to 16.00. Display Type: LCD. | 1 | Unit |  |
| 3 | Sedgewick Rafter Counting Chamber plus coverglass | In accordance with APHA Standard Methods for the Examination of Water and Wastewater. Cell, 50 mm x 20 mm x 1 mm deep. Formed by four matte-surfaced strips cemented to 76 x 34 mm slide. Overall thickness 3.5 mm.. With one cover glass, 60 mm x 25 mm x 0.6 mm thick,. Graticules S52 (Glass Construction) + Graticules S51 coverglass for sedgewick rafter. | 1 | Unit |  |
| 4 | Megaphone with Sirine | TOA ZR-2015s Megaphone dengan pemakaian gantung di bahu. Cocok untuk acara outdoor. Mudah Dibawa Kemana-Mana. Jangkauan sampai dengan 400m. Power Output 15W Rated / 23W Max. Sirene : 20 minutes (EIAJ). | 1 | Unit |  |
| 5 | Micropippette Set | Select Bio Product 6 pcs. SelecPette Autoclavable 0.1 - 2 ul. SelecPette Autoclavable 0.5 - 10 ul. SelecPette Autoclavable 2 - 20 ul. SelecPette Autoclavable 10 - 1000 ul. SelecPette Autoclavable 20 - 200 ul. SelecPette Autoclavable 100 - 1000 ul. Select Pette Autoclavable Single Channel Pipettes. | 1 | Unit |  |
| 6 | Pencetak Label | Casio KL-7400 Auto cutter with half cut function. Varied labelling application. Designed logo printing. Large, easy to read LCD. Barcode printing. Numbering. 5 installed fonts. | 1 | Unit |  |
| 7 | Starter pH Portable | Ohaus ST 300 Cat. 83033961 | 1 | Unit |  |
| 8 | Monitor TV LED | AKARI - 65" LED TV LE-65D99 | 1 | Unit |  |
| 9 | AC 1.5 PK Sharp AHA12UCY | Sharp Capacity: 1,5 PK. Cooling capacity: 13000 Btu. Turbo Cooling. Refrigrant: R32. Eco New Refrigerant Turbo Cooling. Self Diagnosis. X-Fan Function. Colour White. Auto Swing Louver: 2 Way Auto Swing. Anti Rust Evaporator. Floor Area: 16 - 26m2. Voltage : 220Volt. Rated Current : 7.5Ampere. Rate input: 1080 Wat. Indoor : 12,5 kg. Dimensi : 91x35x27 cm. Outdoor : 32 kg. Dimensi : 88×37×61 cm. Include pemasangan. | 4 | Unit |  |

Pejabat Pembuat Komitmen,

Anton Prasetyo