	[image: image15.png]



	KEMENTERIAN AGAMA REPUBLIK INDONESIA

UNIVERSITAS ISLAM NEGERI MAULANA MALIK IBRAHIM MALANG
FAKULTAS SAINS DAN TEKNOLOGI
Kampus 1 JalanGajayana 50 Malang 65144, Telepon (0341) 558933, Faksimile (0341) 558933
Website : saintek.uin-malang.ac.id Email : saintek@uin-malang.ac.id


[image: image1.jpg]


Nomor 

: 1626/FST.1/KS.01.3/06/2019





17 Juni 2019
Lampiran 
:1 (satu) bendel
Perihal 

:Permintaan Informasi Harga Barang





Kepada Yth. 
............................................................................................
di
‘- T e m p a t – 
Dengan hormat,
Sehubungan rencana realisasi pelaksanaan pekerjaan Pengadaan Peralatan dan Mesin Laboratorium Jurusan Kimia Fakultas Sains dan Teknologi (SAINTEK) UIN Maulana Malik Ibrahim Malang, bersama ini kami bermaksud agar perusahaan saudara memberikan informasi tentang Harga barang sesuai dengan Rencana Anggaran Biaya (RAB) yang kami lampirkan dalam surat ini.
Informasi harga barang tersebut akan kami jadikan dasar survey Harga Perkiraan sendiri (HPS)
Kami harap data barang dapat kami terima paling lambat pada :
Hari


: Jum’at
Tanggal

: 21 Juni 2019
Jam


: 14.00 WIB
Tempat 

: Ruang Sidang Lt. I Fakultas Sains dan Teknologi

  UIN Maulana Malik Ibrahim Malang 
Jl. Gajayana No. 50 Malang (0341) 558933
Adapun informasi harga tersebut bisa dikirim via e-mail ke : saintek@uin-malang.ac.id  atau bisa dikirim langsung ke Fakultas Sains dan Teknologi  UIN Maulana Malik Ibrahim Malang atau di Fax ke (0341) 558933
Demikian atas perhatian dan kerjasamanya yang baik, kami sampaikan terima kasih.


Pejabat Pembuat Komitmen,
TTD
Dr. Anton Prasetyo, M.Si.
Lampiran
: Surat Permintaan Informasi Harga Barang
Nomor 
: 1626/FST.1/KS.01.3/06/2019
Tanggal 
: 17 Juni 2018
Rencana Anggaran Biaya (RAB)
Pekerjaan 
: Pengadaan Peralatan dan Mesin Laboratorium di Jurusan Kimia
Lokasi

: UIN Maulana Malik Ibrahim Malang
Tahun Anggaran 
: 2019
	No.
	Nama Barang
	Spesifikasi Barang
	Volume
	Harga (Rp.
	Jumlah (Rp)

	1.
	Calorimeter transparent 1200 mL
[image: image2.jpg]




	PN: 04402-00
Dewartype glass vessel
Contens ca.1 L plasticlid

Diameter 130 mm

	1 buah
	
	

	2.
	[image: image3.jpg]


Benchtop Multiparameter
	thermo scientific VSTAR40B2           (13645582) 
Orion Versa Star Pro benchtop meter kit with two 
pH/ISE/mV modules, ROSS Ultra glass-body pH electrode, 
ATC probe, stirrer probe, solutions and two stands

includes: Versa Star Pro meter, 
two VSTAR-ISE pH/ISE modules, 
8102BNUWP ROSS Ultra glass-body pH electrode, 
927007MD Orion stainless steel ATC probe, 
096019 Orion Star stirrer probe, 
810199 ROSS pH buffer and solution kit, 
electrode stand, universal power adapter, 
literature CD, printed quick start guide, 
computer interface cable and meter test certificate

Dimension:28cm x 24cm x 10cm (11 in. x 9.5 in. x 3.9 in.),
 modules add ≤ 2cm (0.8 in.) L & H
	1 set
	
	

	3.
	Spectronic Visible Spectrophotometer

[image: image4.jpg]



	ThermoFisher Scientific 

Genesys 30 instrumens

Includes cuvette
Optical design         : single beam
Spectral bandwidth : 5 nm

Light source: tugsten (>1000 hours)

Detector: silicon photodiode

Wavelength: range 325-1100 nm, accuracy + 2 nm, repetability < + 1nm,  scan speed automatic up to 1200 nm/min, data resolution 1 nm.

Photometric: range -3A to +3A, display: -3A t0 +3A, 0 t0 200.000 % T, 0 to 9.999.999 C, accuracy: +  0,002A (0-0,3A) 0,5 % of ABS reading (0,301A-2,5A), repeatability: +  0,002A, noise: <0,001A at 0A, >0,001A at 1A, <0,002A at 2A, Drift <0,002A/Hr

Stray light: <0,1%T at 340 nm and 400 nm

Baseline flatness: <0,003A

Display: 5-inch diagonal, 32-bit color display, 800 × 480 pixels

Keyped: Tactile rubber 23 keys with numeric keypad

Sample Compartment: Accessible from top, front or side • All platforms can accommodate 100 mm cells • Available accessory for test-tubes up to 25 mm diameter and 150 mm height • Removable, washable sample compartment liner with magnetic placement and hold-down.

Connectivity: USB-A on front face supports flash memory devices for method and data storage • USB-B on side supports connection to a Windows computer running optional remote control software; export data to PC via USB

Dimensions: 35.5 × 38.5 × 19.5 cm (L × W × H)

Weight: 7.5 kg

Power Requirements: External AC to DC converter. Voltage and Frequency (Hz) selected automatically, 100–240 volts, 50–60 Hz

Warranty: 2 years standard with 1 year extension upon registration of the instrument with Thermo Fisher Scientific within 6 months of purchase
	1 set
	
	

	4.
	Rotary evaporator
[image: image5.jpg]



	· IKA RV 8 V

· 4 L heating bath

· package includes Woulff bottle

· water/oil heating bath with carrying handles

· locking button for fixing heating bath temperature

· clearly legible, glass-covered, black-and-white 
· display panel

· manual lift for precise positioning of the glassware

· speed range: 5 - 300 min-1

· flask clamping mechanism with integrated 
push-off function

· compatible with the entire range 
· of IKA RV 10 glassware
	1 set
	
	

	5.
	vacuum pump

	· model 6212-202 P-20 Hanon 
· Ultimate vacuum : 8 mbar
· Flow rate: 20L/min

· Voltage frek power: 220V-50 Hz

· Conector fot tube: 10 mm

· Ambient op: +5 derajad – 40 derajad celecius

· PTFE pump head

· PTFE coated

· Rotate Speed: 1450 rpm

· Dimensi: 315 x 165 x 210 mm
· Valve FFPM
	1 unit
	
	

	6. 
	[image: image6.jpg]nalytical Balan

ATX/ATY Series

3



Analytical balance
	· Readability : 0.0001 gr

· Capacity 220 g


· Minimum Display 0.1 mg

· Repeatability (Standard Deviation)

· ≤0.1 mg

· Linearity ±0.2 mg

· Stabilisation Time*1
 Approx. 3.0 seconds

· Operating Temperature and Humidity Limits
 
5-40°C 20-85%*2

· Temperature Coefficient for Sensitivity 
(10-30°C)
 ±2ppm/°C

· Pan Size (mm) approx. Φ91

· Main Body Dimensions (mm) 
approx. 213(W) x 356(D) x 338(H)

· Main Body Weight (kg) approx. 6.2
 6.0

· Power requirement
 12V, 1A

· Internal Calibration
	1 set
	
	

	7.
	[image: image7.png]


TLC Developing chamber 10 x 10 cm plates

	Developing Standard Tank with Lid 
10 x 10 cm plates
	2 unit
	
	

	8.
	TLC developing chambers 20 x 20 cm plates
[image: image8.jpg]




	Developing Standard Tank with Lid 
20 x 20 cm plates
	1 unit
	
	

	9.
	Vortex mixer
[image: image9.jpg]




	· thermoscientific. LP Vortex Mixer 88880018, 
· 100-240 VAC; US Plug. Power (VAC)100 to 240
· Choose between continuous or pulse mode

· Simple dial controls speed from 0 to 3000 rpm

· Automatic overload shutoff

· Sturdy design and weight keeps unit from 

"walking" while in use

· Variety of accessories accommodates 

· different-sized vessels
· dimension: 8.3 x 6.1 x 3.3 in. (210 x 154 x 83mm)
· type plug: Cord set w/various plugs

	1 set
	
	

	10.
	Multiposition Stirrers without heating
[image: image10.jpg]



	- RO 5

- Number of stirring position : 5

- Max stirring : 0.4 L

- Distance between stirring places : 90 mm

- Speed display : LED

- Speed range : 0-1200 rpm

- Speed adjusment : 10 rpm steps

- Setup plate material : stainless steel 1.4301

- Setup plate dimension : 120 x 470 mm

- Dimension (WxDxH) : 120 x 570 x 60 mm

- Weight : 3 kg


	1 set
	
	

	11.
	[image: image11.png]


Mikropipet

	Thermo Scientific* Finnpipette*

F1 Single Channel Pipetters

100-1000 µl


	2 buah
	
	

	12.
	[image: image12.jpg]


ultrasonic vibracell[image: image13.jpg]




	Q500 sonicator with standard probe

Power Rating
500 Watts

Frequency
20 kHz

Programmable Timer
10 Hours

Adjustable Pulse On/Off
1 Second to 1 Minute

Dimensions
8" W x 15.25" L x 8.5" H

Complete set wit ½ probe

	1 set
	
	

	13,
	universal drying oven
[image: image14.jpg]




	· memmert UN55
· Textured stainless steel casing
· Dimensions w(D) x h(E) x d(F) : 585 x 784 x 514 mm
· Set temperature range in °C min. 5°C above ambient up to +300°C

	1 set
	
	

	14.
	Magnetic Stirrer Hot Plate


	· Thermo scientific

· 3067-20, SP131325,

· Operating temp range 5-540oC

· Stirring Speed Range, RPM50-1200

· Dxhxw 33 cm x 9,7 cm x 20,8 cm

Volt/watts/amps/hertz 120/1040/8,6/50-60
	1 set
	
	

	15.
	Elektroforesis horizontal

	Description
MSMIDIDUO

Gel Size: (WxL) 10 x 7 cm/MS10-UV7

Unit dimension (WxLxH) 12.5 x 22 x 9 cm
Running Buffer Volume: 300 ml
Plug and go casting dams supplied: 1 pair

Tray capacity: MS 7/10-FC 1 tray

Runnin conditions : 90V,45-60 min


	1 set
	
	

	16.
	AC 

	1.5 PK Sharp AHA12UCY
Capacity: 1,5 PK - Cooling capacity: 13000 Btu - Turbo Cooling - Refrigrant: R32 - Eco New Refrigerant Turbo Cooling - Self Diagnosis - X-Fan Function - Colour White - Auto Swing Louver: 2 Way Auto Swing - Anti Rust Evaporator - Floor Area: 16 - 26m2 - Voltage : 220Volt - Rated Current : 7.5Ampere - Rate input: 1080 Watt - Indoor : 12,5 kg - Dimensi : 91x35x27 cm - Outdoor : 32 kg - Dimensi : 88×37×61 cm

Sudah Termasuk Pemasangan dan kelengkapan  (bracket, pipa AC, pipa pembuangan dan kabel listrik)
	4 unit
	
	

	
	

	


NB: 
1. Harga sudah termasuk pajak
Pejabat Pembuat Komitmen,
TTD
Dr. Anton Prasetyo, M.Si.
